Section III: Returnable Bidding Forms

eSourcing reference:  [RFQ/2026/62289]

Note to Bidders: The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their quotation. Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Bidding Forms as instructed and return them as part of your quotation by uploading them against their specific Document Checklist in the UNOPS eSourcing system.

This Section comprises the following Returnable Bidding Forms:

- Form A: Quotation Submission Form

- Form B: Price Schedule Form

- Form C: Technical Quotation Form

- Form D: Previous Experience Form

- Form E: Self Disclosure Form

- Form F: Joint Venture Partner Information Form

- Form G: Manufacturer’s authorization form

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]

Subject: Quotation for the supply of [Insert a brief description of goods/services] in [Name of country/city], RFQ Case No. [Insert RFQ ref number], dated [insert date]

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract;

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in the Tender Particulars section, Period of Validity of Quotations] from the date fixed for the submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS [If you have any actual or potential conflict of interest as defined in Article 3 of Section I: Instructions to Bidders, please disclose it here];;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact;

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]

Title: [complete]

Date: [complete]

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]

Title: [complete]

Email address: [complete]

Telephone: [complete]

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

**Please fill in all your prices in the attached excel sheet and send it as (excel book) along with the below table**

Pricing Methodology:

- In addition to DAP price bidder to add a breakdown of prices: cost of goods cleared for export (FCA) separate from transport and insurance.

- The Supplier shall, within fourteen (14) days of Contract signature, provide a contingency plan for alternative routing (e.g., land corridors or bypass ports) should the primary maritime route be restricted.

- To confirm whether the primary components and finished goods are sourced from regions not currently subject to maritime blockades or significant transit disruptions in the Strait of Hormuz or Red Sea (Geographic Origin Declaration).

RFQ reference no: [insert RFQ reference No.]

| Currency | USD |
| --- | --- |

Bills of quantity Lot# 1: Supply & installation and commissioning of medical items and sets

| Item No | Description |  | Qty | Locations and Distributions | Unit Price DAP | Total Price DAP |
| --- | --- | --- | --- | --- | --- | --- |
|  | Chair, Clinical, Blood Draw/Phlebotomy |  | 3 | Radfan Hospital - Lahj:1 National Central Lab, Lahj:2 | insert | insert |
|  | Sphygmomanometer, Mercury |  | 1 | National Central Lab | insert | insert |
|  | Medicine Trolley |  | 3 | Ataq TFC, Shabwah:1 Al-Mansoura TFC, Aden:1 Al Hezma, Marib:1 | insert | insert |
|  | Medicine Cabinet |  | 2 | Ataq TFC, Shabwah:1 Al-Mansoura TFC, Aden:1 | insert | insert |
|  | Instrument Cabinet |  | 4 | Ataq TFC, Shabwah:2 Al-Mansoura TFC, Aden:2 | insert | insert |
|  | Emergency Cart. (Crash Cart) with complete accessories |  | 3 | Ataq TFC, Shabwah:1 Al-Mansoura TFC, Aden:1 Al Hezma, Mariab: 1 | insert | insert |
|  | Sphygmomanometer Mercury, Desk Type |  | 12 | Ataq TFC, Shabwah:6 Al-Mansoura TFC, Aden:6 | insert | insert |
|  | Cart, Anesthesia, 6 DRAWERS |  | 1 | Al Hezma, Mariab | insert | insert |
|  | Cart, Supply, Drawers |  | 1 | Al Hezma, Mariab | insert | insert |
|  | Diagnostic set, portable, adult |  | 1 | Al Hezma, Mariab | insert | insert |
|  | Flowmeter, Air |  | 4 | Al Hezma, Mariab | insert | insert |
|  | Patient Transportation Trolley |  | 2 | Ataq TFC, Shabwah:1 Al-Mansoura TFC, Aden:1 | insert | insert |
|  | Table, Overbed, General |  | 4 | Ataq TFC, Shabwah:2 Al-Mansoura TFC, Aden:2 | insert | insert |
|  | Glucose Meter |  | 12 | Ataq TFC, Shabwah:6 Al-Mansoura TFC, Aden:6 | insert | insert |
|  | Digital Thermometer |  | 8 | Ataq TFC, Shabwah:4 Al-Mansoura TFC, Aden:4 | insert | insert |
|  | Torch Pen Light For Examination, Spotlight |  | 12 | Ataq TFC, Shabwah:6 Al-Mansoura TFC, Aden:6 | insert | insert |
|  | IV Stand |  | 10 | Ataq TFC, Shabwah:4 Al-Mansoura TFC, Aden:4 Al Hezma, Mariab:2 | insert | insert |
|  | Stool, Step, Stackable |  | 2 | Al Hezma, Mariab | insert | insert |
|  | Scale, for adult & child With Height Meter |  | 2 | Ataq TFC, Shabwah:1 Al-Mansoura TFC, Aden:1 | insert | insert |
|  | Baby scale with extra-large weighing tray (Electronic Balance) |  | 3 | Ataq TFC, Shabwah: 1 Al-Mansoura TFC, Aden:1 Hais TFC, Al Hudayda: 1 | insert | insert |
|  | Laboratory Stool Swivel |  | 40 | Ataq TFC: 2 Al-Mansoura TFC, :2 Dr. Ameen Nasher Building A:36 | insert | insert |
|  |  | Total Price |  |  |  | insert |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment: ____% of total firm price for each calendar day less than thirty (30) days

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] to sign this quotation and bind [insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the Comparative Data Tables included in Section II: Schedule of Requirements to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

| Item No | UNOPS minimum technical requirements | Qty | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 1 | Chair, Clinical, Blood Draw/Phlebotomy |  |  |  |
|  | Name of Manufacturer | 3 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Durable Frame Structure - Weight capacity is up to 200 kg. The square tubular frame made from heavy-duty steel and welded for maximum strength to ensure long-term durability |  | ☐ Yes ☐ No |  |
|  | Variable height: 55 cm - 75 cm |  | ☐ Yes ☐ No |  |
|  | Comfortable Upholstered Blood Draw Chair - 200 L x 60 W cm. Suitable for various types of patients. The flip arm, armrests, arched backrest and the contoured seat all covered with a 5 cm thick layer of padding, offering patients a more comfortable blood drawing experience. |  | ☐ Yes ☐ No |  |
|  | Adjustable Depth Flip Armrest - to accommodate all patients and can be locked into the correct position for patient safety and stability. This armrest also allows easier patient access when the medical practitioner has to draw blood or take one’s blood pressure. |  | ☐ Yes ☐ No |  |
|  | Arm rest lock |  | ☐ Yes ☐ No |  |
|  | Adjustable back |  | ☐ Yes ☐ No |  |
|  | Adjustable leg cushion |  | ☐ Yes ☐ No |  |
|  | Easy Clean and Widespread in Medical - upholstered with easy-clean vinyl, allowing for the cleanest possible environment. |  | ☐ Yes ☐ No |  |
|  | Electrically powered adjustments of chair positions by remote control |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source Compliant with IEC 60601 or equivalent |  | ☐ Yes ☐ No |  |
| 2 | Sphygmomanometer , Mercury |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Type: Portable Mercurial Type Desk type |  | ☐ Yes ☐ No |  |
|  | A measuring range from 0 to 300 mmHg. |  | ☐ Yes ☐ No |  |
|  | The manometer scale markings and graduations should be permanent and clearly visible and filled with pigments. |  | ☐ Yes ☐ No |  |
|  | The internal diameter of the manometer glass tube should be 2 ± 0.1 mm and the thickness not less than 2 mm. |  | ☐ Yes ☐ No |  |
|  | All plastic parts, if any used should not crack, flake, peel or disintegrate in normal use. |  | ☐ Yes ☐ No |  |
|  | The inflating rubber bag should be capable of withstanding an internal pressure of 450 mmHg without leaking. |  | ☐ Yes ☐ No |  |
|  | The inflating bulb should be soft and should not have any joints or ridges. |  | ☐ Yes ☐ No |  |
|  | The mercury used should be clean, double distilled |  | ☐ Yes ☐ No |  |
|  | The fastening arrangements of the cuff should be of hook and loop type (Velcro). |  | ☐ Yes ☐ No |  |
|  | The threading and fastening arrangement of the cuff should show no sign of slip or failure when subjected to the maximum test conditions. |  | ☐ Yes ☐ No |  |
|  | The housing case should be of robust design. It should have press to release lock. It should have metal hinges. The tube should be secured with metal screws and clamps. It should have mechanism to hold the lid in right angles and should prevent accidental dropping. All parts should be replaceable in case of breakage |  | ☐ Yes ☐ No |  |
|  | A cleaning brush to clean the manometer tube and a set of spare washers may be provided with each unit. |  | ☐ Yes ☐ No |  |
|  | Accessories: |  | ☐ Yes ☐ No |  |
|  | 3 X Adult Arm Cuffs of Size Medium & Large and Small cuff. |  | ☐ Yes ☐ No |  |
|  | 1 X Child Cuffs Resauble Type |  | ☐ Yes ☐ No |  |
|  | 1 X Neonate Cuffs Resauble Type |  | ☐ Yes ☐ No |  |
|  | 1 X Spare Silicon Connecting Tube |  | ☐ Yes ☐ No |  |
|  | 1 X Storge Case |  | ☐ Yes ☐ No |  |
| 3 | Medicine Trolley |  |  |  |
|  | Manufacturer | 3 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Country where the manufacturer is based |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting from the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001: Quality management systems or equivalent |  | ☐ Yes ☐ No |  |
|  | Construction: Disinfectable, Heavy Duty Compact Design. |  | ☐ Yes ☐ No |  |
|  | " Dimensions, cm (75 L x 55 W x 900 H) approx. |  | ☐ Yes ☐ No |  |
|  | Disinfectable handle Both side |  | ☐ Yes ☐ No |  |
|  | key locking feature |  | ☐ Yes ☐ No |  |
|  | Four castors, two with brakes |  | ☐ Yes ☐ No |  |
|  | Side panels and top table made of ABS Material |  | ☐ Yes ☐ No |  |
|  | Durable main frame made of aluminum |  |  |  |
|  | Seal system for central locking drawers |  | ☐ Yes ☐ No |  |
|  | Disposable Bin made of ABS material |  | ☐ Yes ☐ No |  |
|  | Working top with edges |  | ☐ Yes ☐ No |  |
|  | Dividable inner drawers/Drawer Divider |  | ☐ Yes ☐ No |  |
|  | 6 drawers with following dimensions; |  | ☐ Yes ☐ No |  |
|  | 2 drawers 450x550x70mm, |  | ☐ Yes ☐ No |  |
|  | 2 drawers 450x550x160mm, |  | ☐ Yes ☐ No |  |
|  | 2 drawers 450x550x250mm, |  | ☐ Yes ☐ No |  |
|  | Self-closing and telescopic sliding rails for drawers |  | ☐ Yes ☐ No |  |
|  | Forward dropping medication boxes attached on top Qty10 distributed 5 each Raw with label |  | ☐ Yes ☐ No |  |
| 4 | Medicine Cabinet |  |  |  |
|  | Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Country where the manufacturer is based |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting from the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001: Quality management systems or equivalent |  | ☐ Yes ☐ No |  |
|  | Construction: Disinfectable |  | ☐ Yes ☐ No |  |
|  | The unit should be constructed from heavy duty steel with enamelled finish & rounded corners |  | ☐ Yes ☐ No |  |
|  | The unit should have double lock secure. |  | ☐ Yes ☐ No |  |
|  | The unit should be securely mounted on wall. |  | ☐ Yes ☐ No |  |
|  | No sharp edges |  | ☐ Yes ☐ No |  |
|  | 75 cm H x 60 cm W x 27 cm D |  | ☐ Yes ☐ No |  |
|  | Delivered ready to use |  | ☐ Yes ☐ No |  |
|  | Predrilled holes in the back for mounting on a wall(wall mounting hardware included) |  | ☐ Yes ☐ No |  |
|  | Four shelf Removable |  | ☐ Yes ☐ No |  |
| 5 | Instrument Cabinet |  |  |  |
|  | Manufacturer | 4 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001: Quality management systems or equivalent |  | ☐ Yes ☐ No |  |
|  | Construction: Medical grade, Disinfectable |  | ☐ Yes ☐ No |  |
|  | The unit should be constructed from heavy duty steel with enamelled finish & rounded corners |  | ☐ Yes ☐ No |  |
|  | Mounted on 4 sturdy supports, Clearance underneath the cabinet allows for easy cleaning. |  | ☐ Yes ☐ No |  |
|  | No sharp edges |  | ☐ Yes ☐ No |  |
|  | delivered ready to use |  | ☐ Yes ☐ No |  |
|  | It should contain two double-hinged doors: stainless steel frame (1 mm thickness) with Recessed safety glass window on both sides |  | ☐ Yes ☐ No |  |
|  | Heavy duty handles with key lock. |  | ☐ Yes ☐ No |  |
|  | Inner stainless steel 4 shelves with adjustable positions (Carrying capacity, each shelf: 25 kg) |  | ☐ Yes ☐ No |  |
|  | Dimension: 125*40*200 cm (W*D*H) Approx |  | ☐ Yes ☐ No |  |
|  | Door, opening angle: 180 degrees |  | ☐ Yes ☐ No |  |
| 6 | Emergency Cart. (Crash Cart ) with complete accessories |  |  |  |
|  | Name of Manufacturer | 3 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | A set of trays/drawers/shelves on wheels used in hospitals for transportation and dispensing of emergency medication/equipment at the site of a medical/surgical emergency for life support protocols (ACLS/ALS) to potentially save someone's life |  | ☐ Yes ☐ No |  |
|  | The crash cart should be made of Stainless-steel Or/& ABS Material tubular frame work |  | ☐ Yes ☐ No |  |
|  | Shall have Anti-Microbial powder paint finishing |  | ☐ Yes ☐ No |  |
|  | Dual push handles (1 on each side) |  | ☐ Yes ☐ No |  |
|  | 5 drawers with removable Inner Space plastic trays and dividers |  | ☐ Yes ☐ No |  |
|  | Top pull-out working surface with barriers |  | ☐ Yes ☐ No |  |
|  | Locking system for the drawers |  | ☐ Yes ☐ No |  |
|  | Two accessory mounting brackets to mount accessories anywhere -including 1 bracket for defibrillator with straps |  | ☐ Yes ☐ No |  |
|  | "Mounted on 4 swiveling castors of 12 cm diameter, non-rusting. |  | ☐ Yes ☐ No |  |
|  | Two of which having locking arrangement." |  | ☐ Yes ☐ No |  |
|  | Oxygen bottle holder, on one side |  | ☐ Yes ☐ No |  |
|  | IV pole, double hook |  | ☐ Yes ☐ No |  |
|  | CPR/ Cardiac massage board |  | ☐ Yes ☐ No |  |
|  | Removable Inner Space plastic trays and dividers |  | ☐ Yes ☐ No |  |
|  | Overall size shall be more approx... 750mm L x 550mm W x 1000mm H. |  | ☐ Yes ☐ No |  |
| 7 | Sphygmomanometer Mercury, Desk Type |  |  |  |
|  | Name of Manufacturer | 12 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Type: Portable Mercurial Type Desk type |  | ☐ Yes ☐ No |  |
|  | A measuring range from 0 to 300 mmHg. |  | ☐ Yes ☐ No |  |
|  | The manometer scale markings and graduations should be permanent and clearly visible and filled with pigments. |  | ☐ Yes ☐ No |  |
|  | The internal diameter of the manometer glass tube should be 2 ± 0.1 mm and the thickness not less than 2 mm. |  | ☐ Yes ☐ No |  |
|  | All plastic parts, if any used should not crack, flake, peel or disintegrate in normal use. |  | ☐ Yes ☐ No |  |
|  | The inflating rubber bag should be capable of withstanding an internal pressure of 450 mmHg without leaking. |  | ☐ Yes ☐ No |  |
|  | The inflating bulb should be soft and should not have any joints or ridges. |  | ☐ Yes ☐ No |  |
|  | The mercury used should be clean, double distilled |  | ☐ Yes ☐ No |  |
|  | The fastening arrangements of the cuff should be of hook and loop type (Velcro). |  | ☐ Yes ☐ No |  |
|  | The threading and fastening arrangement of the cuff should show no sign of slip or failure when subjected to the maximum test conditions. |  | ☐ Yes ☐ No |  |
|  | The housing case should be of robust design. It should have press to release lock. It should have metal hinges. The tube should be secured with metal screws and clamps. It should have mechanism to hold the lid in right angles and should prevent accidental dropping. All parts should be replaceable in case of breakage |  | ☐ Yes ☐ No |  |
|  | A cleaning brush to clean the manometer tube and a set of spare washers may be provided with each unit. |  | ☐ Yes ☐ No |  |
|  | Accessories: |  | ☐ Yes ☐ No |  |
|  | 3 X Adult Arm Cuffs of Size Medium & Large and Small cuff. |  | ☐ Yes ☐ No |  |
|  | 1 X Child Cuffs Reusable Type |  | ☐ Yes ☐ No |  |
|  | 1 X Neonate Cuffs Reusable Type |  | ☐ Yes ☐ No |  |
|  | 1 X Spare Silicon Connecting Tube |  | ☐ Yes ☐ No |  |
|  | 1 X Storge Case |  | ☐ Yes ☐ No |  |
| 9 | 8- Cart, Anesthesia, 6 DRAWERS |  |  |  |
|  | Name of Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Precision-welded steel frame with high-impact panels |  | ☐ Yes ☐ No |  |
|  | Over bridge with two hanger rails |  | ☐ Yes ☐ No |  |
|  | Two tiers of tilt out bins |  | ☐ Yes ☐ No |  |
|  | Pull-out work surface |  | ☐ Yes ☐ No |  |
|  | Waste basket and holder |  | ☐ Yes ☐ No |  |
|  | Two small drawers with divider kit |  | ☐ Yes ☐ No |  |
|  | Two medium drawers with divider kit |  | ☐ Yes ☐ No |  |
|  | One large drawer |  | ☐ Yes ☐ No |  |
|  | Integrated hand grip |  | ☐ Yes ☐ No |  |
|  | The cart shall be lockable |  | ☐ Yes ☐ No |  |
|  | Four electrically conductive, swivel casters, with brakes |  | ☐ Yes ☐ No |  |
| 9 | Cart, Supply, Drawers |  |  |  |
|  | Name of Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | A precision welded tubular steel fame |  | ☐ Yes ☐ No |  |
|  | Four electrically conductive, swivel casters, two with brakes |  | ☐ Yes ☐ No |  |
|  | Stability control system and spread castor position |  | ☐ Yes ☐ No |  |
|  | Seamless lightweight drawers |  | ☐ Yes ☐ No |  |
|  | Dimensions (HxDxW): approx. 1100x600x800mm |  | ☐ Yes ☐ No |  |
| 10 | Diagnostic set, portable, adult |  |  |  |
|  | Name of Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Battery operated diagnostic kit consists of two separate handles: one with otoscope and one with ophthalmoscope |  | ☐ Yes ☐ No |  |
|  | 2.5 V Coaxial Ophthalmoscope Head: |  | ☐ Yes ☐ No |  |
|  | LED lamp. |  | ☐ Yes ☐ No |  |
|  | 5 apertures wheel and red free filter |  | ☐ Yes ☐ No |  |
|  | 19 focusing lenses with a range of -20 to +20 diopters |  | ☐ Yes ☐ No |  |
|  | 2.5 V Diagnostic Otoscope Head |  | ☐ Yes ☐ No |  |
|  | LED lamp. |  | ☐ Yes ☐ No |  |
|  | With distal fiber-optic illumination, insufflation port, and 3x magnification swivel window and an airtight seal |  | ☐ Yes ☐ No |  |
|  | Spare lamps Qty.2. |  | ☐ Yes ☐ No |  |
|  | Two different sizes reusable specula |  | ☐ Yes ☐ No |  |
|  | Light weight handles, easy to grip and to clean. |  | ☐ Yes ☐ No |  |
|  | Hard box carrying case |  | ☐ Yes ☐ No |  |
| 11 | Flowmeter, Air |  |  |  |
|  | Name of Manufacturer | 4 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | The regulator shall be impact-resistant, durable and constructed of high quality materials |  | ☐ Yes ☐ No |  |
|  | Standard graduated float in tube |  | ☐ Yes ☐ No |  |
|  | Regulation range: 0 to 15 L/min |  | ☐ Yes ☐ No |  |
|  | Supply pressure: 4-6 bar |  | ☐ Yes ☐ No |  |
|  | Directly connected to central medical air system outlet with British standard probe to BS 5682:2015 (unless otherwise requested by the client) |  | ☐ Yes ☐ No |  |
|  | With tubing nipple |  | ☐ Yes ☐ No |  |
|  | With nebulizer (directly connected) |  | ☐ Yes ☐ No |  |
|  | All surfaces shall be disinfectable |  | ☐ Yes ☐ No |  |
|  | All required accessories, consumables, hoses etc for full functionality shall be included |  | ☐ Yes ☐ No |  |
|  | The unit shall be CE marked and/or FDA approved |  | ☐ Yes ☐ No |  |
| 12 | Patient Transportation Trolley |  |  |  |
|  | Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | A hydraulic patient stretcher that is used for internal patient transportation in a health facility |  | ☐ Yes ☐ No |  |
|  | FRAME MATERIAL: Epoxy painted steel |  | ☐ Yes ☐ No |  |
|  | Mounted on four 200 mm anti-static swivel castors with at least 2 breaks |  | ☐ Yes ☐ No |  |
|  | Foldable / collapsible protection side rails |  | ☐ Yes ☐ No |  |
|  | Trendelenburg adjustable via hydraulic cylinders. |  | ☐ Yes ☐ No |  |
|  | Back Rest Adjustable Gas Spring Assisted |  | ☐ Yes ☐ No |  |
|  | Height adjustable via a foot operated hydraulic pump at both sides of the trolley |  | ☐ Yes ☐ No |  |
|  | Two drip rod fittings at each end of the trolley |  | ☐ Yes ☐ No |  |
|  | Mattress: Radio translucent, washable cover, anti-static and waterproof for the trolley |  | ☐ Yes ☐ No |  |
|  | Handles on both side of the stretcher. |  | ☐ Yes ☐ No |  |
|  | BUMPERS, all corners |  | ☐ Yes ☐ No |  |
|  | One IV pole with dual IV hooks. |  | ☐ Yes ☐ No |  |
|  | Transport oxygen cylinder holder |  | ☐ Yes ☐ No |  |
|  | Safe working load: ≥ 200 Kg. |  | ☐ Yes ☐ No |  |
|  | shall have controls for the following: a- Height range adjustment (foot operated): Low ≤ 60 cm High ≥ 85 cm. b- Backrest: 0° to 85°. c- Trendelenburg and reverse Trendelenburg (hands-free control): ≥ ±15°. |  | ☐ Yes ☐ No |  |
|  | It shall include an 8 cm thick patient mattress flame resistant. |  | ☐ Yes ☐ No |  |
|  | Central brake system |  | ☐ Yes ☐ No |  |
|  | Steerable stretcher Via Handels with Fifth wheel |  | ☐ Yes ☐ No |  |
|  | X-RAY CASSETTE HOLDER:, full length |  | ☐ Yes ☐ No |  |
|  | RESTRAINING STRAPS |  | ☐ Yes ☐ No |  |
|  | PLATFORM DIMENSION IN MM, side-rails stored:2000 X 650 |  | ☐ Yes ☐ No |  |
|  | Monitor Shelf |  | ☐ Yes ☐ No |  |
|  | Integrated storage tray |  | ☐ Yes ☐ No |  |
| 13 | Table, Overbed, General |  |  |  |
|  | Name of Manufacturer | 4 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Lightweight, easy to handle and durable design |  | ☐ Yes ☐ No |  |
|  | Tiltable Table top |  | ☐ Yes ☐ No |  |
|  | Chrome plated mild steel tube Frame |  | ☐ Yes ☐ No |  |
|  | Durable easy to clean material (such as HPL, PVS, ABS, MDF, etc.), rust resistant and scratch resistant top |  | ☐ Yes ☐ No |  |
|  | Base should be fitting easily under patient bed and other hospital furniture |  | ☐ Yes ☐ No |  |
|  | Top surface dimension:900 x 400 mm approx. |  | ☐ Yes ☐ No |  |
|  | Column Construction |  | ☐ Yes ☐ No |  |
|  | Mounted on four swivel castors, with lockable mechanism |  | ☐ Yes ☐ No |  |
|  | Up/Down movement controlled by a lever release, or spring |  | ☐ Yes ☐ No |  |
|  | Weight Capacity: at least 20 kg. |  | ☐ Yes ☐ No |  |
| 14 | Glucose Meter |  |  |  |
|  | Name of Manufacturer | 12 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2-year full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Microprocessor-controlled, handheld |  | ☐ Yes ☐ No |  |
|  | Measuring range: 2.2-27.8mmol/L (40-500mg/dl) Approx. |  | ☐ Yes ☐ No |  |
|  | Must give accurate results within Approx. 15 seconds. |  | ☐ Yes ☐ No |  |
|  | Must store at least the 20 results. |  | ☐ Yes ☐ No |  |
|  | Must be supplied with 200 strips. |  | ☐ Yes ☐ No |  |
|  | Must be supplied with a virtually pain-free blood sampling tool (lancing device). |  | ☐ Yes ☐ No |  |
|  | Specify the shelf life of strips (vial closed, after opening the vial) |  | ☐ Yes ☐ No |  |
|  | Must be supplied with long-life batteries |  | ☐ Yes ☐ No |  |
|  | Must have a case for storage. |  | ☐ Yes ☐ No |  |
|  | 15- Digital Thermometer |  |  |  |
|  | Manufacturer | 8 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Oral and rectal use. |  | ☐ Yes ☐ No |  |
|  | Should use interchangeable reusable probes for measurement with disposable probe covers |  | ☐ Yes ☐ No |  |
|  | specify temperature predict time |  | ☐ Yes ☐ No |  |
|  | Temperature accuracy: 0.1°C |  | ☐ Yes ☐ No |  |
|  | Automatic shut-off feature |  | ☐ Yes ☐ No |  |
|  | Display (specify type and size) |  | ☐ Yes ☐ No |  |
|  | Should signal after temperature taken |  | ☐ Yes ☐ No |  |
|  | Safe to use, with no glass and mercury-free |  | ☐ Yes ☐ No |  |
|  | Should have an auto memory to show last 10 temperatures taken |  | ☐ Yes ☐ No |  |
|  | Should include rechargeable batteries with charging desk unit |  | ☐ Yes ☐ No |  |
|  | Should be supplied with a suitable case, an oral probe with 2 packs of disposable covers (specify number of covers per pack), one spare oral probe, a rectal probe with 2 packs of disposable covers (specify number of covers per pack) as well as one spare rectal probe |  | ☐ Yes ☐ No |  |
| 16 | Torch Pen Light For Examination, Spot Light |  |  |  |
|  | Manufacturer | 12 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Reusable pen torch that provides powerful spot beam suitable for diagnostic examinations. |  | ☐ Yes ☐ No |  |
|  | Supplied with batteries |  | ☐ Yes ☐ No |  |
|  | Made from durable plastic. . |  | ☐ Yes ☐ No |  |
|  | The torch should feature a chrome plated pocket clip |  | ☐ Yes ☐ No |  |
| 17 | IV Stand |  |  |  |
|  | Manufacturer | 10 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001: Quality management systems or equivalent |  | ☐ Yes ☐ No |  |
|  | Stainless steel IV Stand |  | ☐ Yes ☐ No |  |
|  | Height adjustable up to >1800mm |  | ☐ Yes ☐ No |  |
|  | Large stainless steel or chrome-plated steel tubing base of approx 50 cm diameters |  | ☐ Yes ☐ No |  |
|  | 5 Swivel castors, 2 with brakes |  | ☐ Yes ☐ No |  |
|  | Rod equipped with 4 hooks configuration. |  | ☐ Yes ☐ No |  |
| 18 | Stool, Step, Stackable |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Full warranty period |  | ☐ Yes ☐ No |  |
|  | It shall be constructed of chrome-nickel steel 18/10 seamlessly welded. |  | ☐ Yes ☐ No |  |
|  | Single step |  | ☐ Yes ☐ No |  |
|  | It shall have an electrically conductive anti-slip rubber surface. |  | ☐ Yes ☐ No |  |
|  | It shall have electrically conductive rubber feet. |  | ☐ Yes ☐ No |  |
|  | Approximate dimensions (H x W x L): 20 x 35 x 50 cm. |  | ☐ Yes ☐ No |  |
| 19 | Scale, for adult & child With Height Meter |  |  |  |
|  | Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | LCD display |  | ☐ Yes ☐ No |  |
|  | Platform size :250 X 300mm approx. or better |  | ☐ Yes ☐ No |  |
|  | SCALE, Floor Standing, Electronic, with height measurement |  | ☐ Yes ☐ No |  |
|  | Instant digital readout at waist level. |  | ☐ Yes ☐ No |  |
|  | Unit shall have both lb/kg increments. |  | ☐ Yes ☐ No |  |
|  | Weight capacity up to 200 kgs. |  | ☐ Yes ☐ No |  |
|  | The scale should be highly accurate with no need of adjustment or periodic calibration. |  | ☐ Yes ☐ No |  |
|  | Accuracy: Height ±0.1cm Weight0.1kg |  | ☐ Yes ☐ No |  |
|  | Unit shall include a measuring column made from corrosion resistant hard aluminum and shall have a measuring range of approximately 750 mm to 2,000 mm in divisions of approximately 5 mm. |  | ☐ Yes ☐ No |  |
|  | Measuring rod shall have both inches/cm increments. |  | ☐ Yes ☐ No |  |
|  | Batteries and Mains powered |  | ☐ Yes ☐ No |  |
|  | Calibration weight set to be included |  | ☐ Yes ☐ No |  |
| 20 | Baby scale with extra-large weighing tray (Electronic Balance) |  |  |  |
|  | Name of Manufacturer | 3 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 year full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Type: Electronic |  | ☐ Yes ☐ No |  |
|  | Max Patient Weight: 20 Kg or Better. |  | ☐ Yes ☐ No |  |
|  | Contoured Tray shape |  | ☐ Yes ☐ No |  |
|  | Auto Zero Switch: Required |  | ☐ Yes ☐ No |  |
|  | Electric Adapter and/or Battery Operated: Re-chargeable battery or 2 x 1.5V AA batteries |  | ☐ Yes ☐ No |  |
|  | Auto Calibration: Required |  | ☐ Yes ☐ No |  |
|  | Large LCD display |  | ☐ Yes ☐ No |  |
|  | Molded plastic Tray material |  | ☐ Yes ☐ No |  |
|  | Accuracy: 5 g |  | ☐ Yes ☐ No |  |
|  | Weight unit: Metric |  | ☐ Yes ☐ No |  |
|  | Non-slip, abrasion-resistant rubber feet |  | ☐ Yes ☐ No |  |
|  | Automatic switch-off |  | ☐ Yes ☐ No |  |
|  | extra-large weighing tray |  | ☐ Yes ☐ No |  |
| 21 | Laboratory Stool Swivel |  |  |  |
|  | Name of Manufacturer | 40 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 year full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Seat diameter is around 400mm |  | ☐ Yes ☐ No |  |
|  | Backrest height Approximate 430 mm |  | ☐ Yes ☐ No |  |
|  | Colors: Black, red, blue, grey |  | ☐ Yes ☐ No |  |
|  | Materials: Cut-resistant, non-slip, resistant to disinfectants |  | ☐ Yes ☐ No |  |
|  | Antibacterial, antifungal and antimicrobial properties |  | ☐ Yes ☐ No |  |
|  | adjustable backrest |  | ☐ Yes ☐ No |  |
|  | Height-adjustable, 360-degree swivel, pneumatic. |  | ☐ Yes ☐ No |  |
|  | polished aluminum star base with 5 castors |  | ☐ Yes ☐ No |  |
|  | Foot Ring |  | ☐ Yes ☐ No |  |
|  | Approximate seat height range shall be: 450 - 600mm |  | ☐ Yes ☐ No |  |
|  | Adjustable height arm rest |  | ☐ Yes ☐ No |  |

Delivery requirements –– Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods [120 calendar days] after Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP to Hospitals and Institutes mentioned in Bills of quantity tables- Form B, in case that the site is not ready, the supplier agrees to store the equipment in their warehouse until the site is prepared to receive the equipment. Incoterms rules as per Incoterms 2020. | ☐ Yes ☐ No | Insert details |
| Consignee details | This Shall include the Installation and Training requirements. Consignee will be the UNOPS and MoH representative | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

00ax: +45 45 33 75 01

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

If subcontracting is anticipated in the performance by the contractor, Procurement Official should insert the following:

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

(C)_________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form D: Previous Experience Form

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of Bidder]

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form E: Self Disclosure Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

| Ref. | Critical area | Response | Comments |
| --- | --- | --- | --- |
| 1 | Has the entity or individual declared bankruptcy, or been involved in bankruptcy or receivership proceedings, or is there any judgment or pending legal action against them, which could impair operations in the foreseeable future; | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 2 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) in breach of their obligations relating to the payment of taxes or social security contributions? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 3 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) guilty of misconduct for the violation of applicable laws, regulations or ethical standards of the profession to which they belong? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 4 | Has the entity or individual engaged, or attempted to engage, in any Proscribed Practices in the past? For the purposes of this provision, “Proscribed Practices” are defined in the UNOPS Operational Instruction on Vendor Sanctions and include the following: - A corrupt practice: the offering, giving, receiving, or soliciting, directly or indirectly, anything of value to influence improperly the actions of another party; - A fraudulent practice: any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; - A coercive practice: an act or omission that impairs or harms, or threatens to impair or harm, directly or indirectly, any party or the property of the party to improperly influence the actions of a party; - A collusive practice: an arrangement between two or more parties designed to achieve an improper purpose, including influencing improperly the actions of another party; - An unethical practice: Conduct or behaviour that is contrary to the conflict of interest, gifts and hospitality, post-employment provisions or other published requirements of doing business with UNOPS; and - Obstruction: Acts or omissions by a Vendor that prevent or hinder UNOPS from investigating instances of possible Proscribed Practices. | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 5 | Has the entity or individual unduly obtained, or attempted to unduly obtain, any confidential information in connection with this procurement process and any agreement that may be awarded as a result of this process? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 6 | Does the entity or individual have a conflict of interest, as provided in the Instructions to bidders, Article 3 “Bidder eligibility”, that may prevent them from entering into an agreement with UNOPS, or that may in any way jeopardize their performance in carrying out their obligations under the agreement? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 7 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) to be involved in any of the following: - Fraudulent practice; - Corrupt practice; - Affiliation with a criminal organization; - Money laundering; - Terrorist financing; - Child labour; or - Human trafficking? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 8 | Has the entity or individual had significant performance issues in the past that led to the early termination of a legal commitment or the application of damages or other contractual penalties, or that were discovered following inspections, audits or investigations? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 9 | Has the entity or individual committed any financial irregularity, resulting from an act or omission or the inclusion of an unjustified item of expenditure outside a contractual engagement that had the effect of prejudicing their use of public funds? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 10 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) to have created an entity in a different jurisdiction with the intent of circumventing fiscal, social or any other legal obligations in the jurisdiction of their registered office, central administration or principal place of business? | Select | [If the response is ‘Yes’, provide an explanation here.] |

I, the undersigned, hereby declare that the information provided is true and correct. I also understand that any willful dishonesty may result in the refusal of this submission. I understand that engagement in any of the above critical areas may, at the discretion of UNOPS, automatically result in the exclusion from this procurement process.

| Name: |  |
| --- | --- |
| Title |  |
| Date: | Sep 10, 2024 |
| Signature |  |

[Stamp this form with the official stamp of the bidder]

Form F: Joint Venture Partner Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below].

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

| JV / Consortium/ Association Information |  |
| --- | --- |
| Name | [complete] |
| Names of each partner and contact information (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| Name of leading partner (with authority to bind the JV, Consortium, Association during the Bidding process and, in the event a Contract is awarded, during contract execution) | [complete] |
| Proposed proportion of responsibilities between partners (in %) with indication of the type of the goods/services to be delivered by each | [complete] |

Signatures of all partners of the JV:

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Form G: Manufacturer’s Authorization Form

A letter issued by the manufacturer authorizing the applicant to participate in this particular RFQ must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: [bidder to insert]

WHEREAS

We [insert complete name of manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of manufacturer’s factories], do hereby authorize [insert complete name of bidder] to submit a bid the purpose of which is to provide the following goods, manufactured by us [insert name and or brief description of the goods], and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 13 of the General Conditions for Goods, with respect to the goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]