Section III: Returnable Bidding Forms

eSourcing reference:  [RFQ/2026/62289]

Note to Bidders: The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their quotation. Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Bidding Forms as instructed and return them as part of your quotation by uploading them against their specific Document Checklist in the UNOPS eSourcing system.

This Section comprises the following Returnable Bidding Forms:

- Form A: Quotation Submission Form

- Form B: Price Schedule Form

- Form C: Technical Quotation Form

- Form D: Previous Experience Form

- Form E: Self Disclosure Form

- Form F: Joint Venture Partner Information Form

- Form G: Manufacturer’s authorization form

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]

Subject: Quotation for the supply of [Insert a brief description of goods/services] in [Name of country/city], RFQ Case No. [Insert RFQ ref number], dated [insert date]

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract;

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in the Tender Particulars section, Period of Validity of Quotations] from the date fixed for the submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS [If you have any actual or potential conflict of interest as defined in Article 3 of Section I: Instructions to Bidders, please disclose it here];;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact;

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]

Title: [complete]

Date: [complete]

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]

Title: [complete]

Email address: [complete]

Telephone: [complete]

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

**Please fill in all your prices in the attached excel sheet and send it as (excel book) along with the below table**

Pricing Methodology:

- In addition to DAP price bidder to add a breakdown of prices: cost of goods cleared for export (FCA) separate from transport and insurance.

- The Supplier shall, within fourteen (14) days of Contract signature, provide a contingency plan for alternative routing (e.g., land corridors or bypass ports) should the primary maritime route be restricted.

- To confirm whether the primary components and finished goods are sourced from regions not currently subject to maritime blockades or significant transit disruptions in the Strait of Hormuz or Red Sea (Geographic Origin Declaration).

RFQ reference no: [insert RFQ reference No.]

| Currency | USD |
| --- | --- |

Bills of quantity Lot# 4: Supply & installation commissioning of Basic Laboratory Medical equipment

| Item No | Description |  | Qty | Locations and Distributions | Unit Price DAP | Total Price DAP |
| --- | --- | --- | --- | --- | --- | --- |
|  | Microscope, Dark Field Contrast & Dissecting |  | 2 | Dr. Ameen Nasher, Aden Building A:2 | insert | insert |
|  | Centrifuges, Micro, Refrigerated, Tabletop |  | 2 | Dr. Ameen Nasher, Aden Building A:2 | insert | insert |
|  | Microscope, Binocular Stereo |  | 2 | Dr. Ameen Nasher, Aden Building A:2 | insert | insert |
|  | Microscope, Binocular |  | 19 | National Central Lab, Lahj: 16 Hais TFC, Al Hudayda: 1 Ataq TFC, Shabwah: 1 Al-Mansoura TFC, Aden:1 | insert | insert |
|  | Centrifuges |  | 6 | Dr. Ameen Nasher, Aden Building A:2 National Central Lab, Lahj: 1 Ataq TFC, Shabwah: 1 Al-Mansoura TFC, Aden:1 Hais TFC, Al Hudayda: 1 | insert | insert |
|  | Centrifuges, Micro, Tabletop |  | 2 | Dr. Ameen Nasher, Aden Building A:2 | insert | insert |
|  | Counters, Digital, Differential |  | 2 | Dr. Ameen Nasher, Aden Building A:2 | insert | insert |
|  | Microscope, Light |  | 2 | Dr. Ameen Nasher, Aden Building A:2 | insert | insert |
|  | Bench Top Steam Sterilizing |  | 3 | National Central Lab, Lahj: 1 Ataq TFC, Shabwah: 1 Al-Mansoura TFC, Aden:1 | insert | insert |
|  | Hamper, Linen |  | 2 | Al Hezma, Mariab | insert | insert |
|  | Washer, disinfector, under counter |  | 1 | Al Hezma, Mariab | insert | insert |
|  | Steam Sterilizer, vertical 100 liter |  | 1 | Al Hezma, Mariab | insert | insert |
|  | Sterilizer, Steam |  | 1 | Radfan Hospital - Lahj:1 | insert | insert |
|  |  | Total Price |  |  |  | insert |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment: ____% of total firm price for each calendar day less than thirty (30) days

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] to sign this quotation and bind [insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the Comparative Data Tables included in Section II: Schedule of Requirements to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

| Item No | UNOPS minimum technical requirements | Qty | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 1 | Microscope, Dark Field Contrast & Dissecting |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | ILLUMINATOR |  | ☐ Yes ☐ No |  |
|  | Light Source :LED |  | ☐ Yes ☐ No |  |
|  | Dual LED Illumination |  | ☐ Yes ☐ No |  |
|  | FOCUS |  | ☐ Yes ☐ No |  |
|  | Stroke:25 mm |  | ☐ Yes ☐ No |  |
|  | Fine Stroke per Rotation:100 μm |  | ☐ Yes ☐ No |  |
|  | Minimum Graduation :1μm |  | ☐ Yes ☐ No |  |
|  | Maximum Specimen Height:50 to 65 mm |  | ☐ Yes ☐ No |  |
|  | The microscope unit shall incorporate advanced technology and optics components for use in general medical laboratory applications |  | ☐ Yes ☐ No |  |
|  | OBSERVATION TUBE |  | ☐ Yes ☐ No |  |
|  | Inclined binocular tube head with ~ 30° angle and 360° rotation |  | ☐ Yes ☐ No |  |
|  | Interpupillary Distance Adjustment (in mm):54 to 76 mm |  | ☐ Yes ☐ No |  |
|  | EyePiece 10x Dual Dioptric Adjustment |  | ☐ Yes ☐ No |  |
|  | Total Magnification: 3.0x to 15.5x |  | ☐ Yes ☐ No |  |
|  | Quadruple rotating objective nose-piece, with ball bearing mechanism and stop locator when in the correct position. |  | ☐ Yes ☐ No |  |
|  | Plan Achromatic Objectives:0.5x to 2x |  | ☐ Yes ☐ No |  |
|  | Polarizer |  | ☐ Yes ☐ No |  |
|  | Sub stage of ~ 14 cm x 16 cm |  | ☐ Yes ☐ No |  |
|  | Rack and pinion adjustable height, with bilateral coaxial focus. |  | ☐ Yes ☐ No |  |
|  | Fine adjustment, in 0.1 mm steps |  | ☐ Yes ☐ No |  |
|  | Course adjustment up to 15 mm or better. |  | ☐ Yes ☐ No |  |
|  | Slide holder (stage) with incorporated scale of 0.1 mm to incorporate smooth X (~ 50 mm) and Y (~ 75 mm) movement |  | ☐ Yes ☐ No |  |
|  | ABBE Condenser to be included in the standard configuration. The offer shall include the following condensers: |  | ☐ Yes ☐ No |  |
|  | Swing out condenser |  | ☐ Yes ☐ No |  |
|  | Achromatic condenser |  | ☐ Yes ☐ No |  |
|  | Dark field condenser |  | ☐ Yes ☐ No |  |
|  | Phase contrast condenser |  | ☐ Yes ☐ No |  |
|  | Halogen illumination: 30 W or better |  | ☐ Yes ☐ No |  |
|  | Daylight (blue) filter |  | ☐ Yes ☐ No |  |
|  | F.O.V.: 22 mm or close equivalent |  | ☐ Yes ☐ No |  |
|  | Dust cover shall be included |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
| 2 | Centrifuges, Micro, Refrigerated, Tabletop |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Tabletop |  | ☐ Yes ☐ No |  |
|  | Digital display parameters: Speed, Time, RPM, Brake, Door, Power & Temperature |  | ☐ Yes ☐ No |  |
|  | Microprocessor controlled |  | ☐ Yes ☐ No |  |
|  | Brushless drive motor |  | ☐ Yes ☐ No |  |
|  | TEMPERATURE |  | ☐ Yes ☐ No |  |
|  | Temperature adjustable between 0°C and +40 °C |  | ☐ Yes ☐ No |  |
|  | Accuracy : ± 1⁰C |  | ☐ Yes ☐ No |  |
|  | Water-protected foil keypad with integrated user-friendly control unit in the front panel. |  | ☐ Yes ☐ No |  |
|  | Easy to clean stainless steel chamber housing, Emergency lid lock release and lid viewing port. |  | ☐ Yes ☐ No |  |
|  | Maximum Speed: 15000 rpm Approx |  | ☐ Yes ☐ No |  |
|  | Maximum RCF: 25000 x g |  | ☐ Yes ☐ No |  |
|  | RCF Increment:100 x g Increments |  | ☐ Yes ☐ No |  |
|  | Maximum acceptable Sound level approximately 60 dBA |  | ☐ Yes ☐ No |  |
|  | Automatic rotor recognition feature and change RPM/RCF by entering rotor. |  | ☐ Yes ☐ No |  |
|  | Speed Increment:100 rpm Increments |  | ☐ Yes ☐ No |  |
|  | TIMER |  | ☐ Yes ☐ No |  |
|  | Running time: Timer Set/Display 1 min - 99 min with countdown timer |  | ☐ Yes ☐ No |  |
|  | Memory: to hold a minimum of 10 running programs. |  | ☐ Yes ☐ No |  |
|  | ALERT INDICATORS |  | ☐ Yes ☐ No |  |
|  | Imbalance |  | ☐ Yes ☐ No |  |
|  | End of run |  | ☐ Yes ☐ No |  |
|  | lid open |  | ☐ Yes ☐ No |  |
|  | Over speed |  | ☐ Yes ☐ No |  |
|  | Provided with Short spin key to spin the rotor at pre-selected speed or RCF (continuous key press). |  | ☐ Yes ☐ No |  |
|  | Provided with sealed buckets for aerosol containment (i.e. inner lid and individual lids) |  | ☐ Yes ☐ No |  |
|  | Safety Imbalances switch off, along with Lid locking/holding during run. |  | ☐ Yes ☐ No |  |
|  | Must be able to handle paediatric samples and all other regularly used tubes in Phlebotomy sample |  | ☐ Yes ☐ No |  |
|  | ROTOR AVAILABLE |  | ☐ Yes ☐ No |  |
|  | Swinging Bucket with Adaptors |  | ☐ Yes ☐ No |  |
|  | Maximum Speed :5500 rpm Approx. |  | ☐ Yes ☐ No |  |
|  | Tube Rotor Capacity:28 x 15ml to 50 ml |  | ☐ Yes ☐ No |  |
|  | Rotor Locking System :Auto Lock |  | ☐ Yes ☐ No |  |
|  | PCR tubes |  | ☐ Yes ☐ No |  |
|  | Microtubes |  | ☐ Yes ☐ No |  |
|  | Rotor Identification |  | ☐ Yes ☐ No |  |
|  | Rotor Cover |  | ☐ Yes ☐ No |  |
|  | CFC-free refrigeration with fast cooling and stand by cooling |  | ☐ Yes ☐ No |  |
|  | Lid Interlock |  | ☐ Yes ☐ No |  |
|  | Manual Lid Lock Over ride |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source Compliant with IEC 60601 or equivalent |  | ☐ Yes ☐ No |  |
|  | Built-in protections against over-voltage, over-current line conditions and defibrillator discharge. |  | ☐ Yes ☐ No |  |
| 3 | Microscope, Binocular Stereo |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Dual Focusing Knobs |  | ☐ Yes ☐ No |  |
|  | Working Distance Range with optional Lenses:25 to 236 mm |  | ☐ Yes ☐ No |  |
|  | Fine Focusing Knob |  | ☐ Yes ☐ No |  |
|  | Intensity Adjustment Knob |  | ☐ Yes ☐ No |  |
|  | Interpupillary Distance Adjustment (in mm):54 to 76 mm |  | ☐ Yes ☐ No |  |
|  | Total Magnification: 3.0x to 15.5x |  | ☐ Yes ☐ No |  |
|  | ILLUMINATOR |  | ☐ Yes ☐ No |  |
|  | Light Source :LED |  | ☐ Yes ☐ No |  |
|  | Dual LED Illumination |  | ☐ Yes ☐ No |  |
|  | FOCUS |  | ☐ Yes ☐ No |  |
|  | Stroke:25 mm |  | ☐ Yes ☐ No |  |
|  | Fine Stroke per Rotation:100 μm |  | ☐ Yes ☐ No |  |
|  | Minimum Graduation :1μm |  | ☐ Yes ☐ No |  |
|  | Maximum Specimen Height: 89 mm |  | ☐ Yes ☐ No |  |
|  | The microscope unit shall incorporate advanced technology and optics components for use in general medical laboratory applications |  | ☐ Yes ☐ No |  |
|  | OBSERVATION TUBE |  | ☐ Yes ☐ No |  |
|  | Ergonomic Tilting Trinocular Observation Tube |  | ☐ Yes ☐ No |  |
|  | Auxiliary Objective Lens:0.5x |  | ☐ Yes ☐ No |  |
|  | Plan Achromatic Objectives:0.5x to 2x |  | ☐ Yes ☐ No |  |
|  | Eyepiece 10x Dual Dioptric Adjustment |  | ☐ Yes ☐ No |  |
|  | Eyepiece Tube Diameter :30 mm |  | ☐ Yes ☐ No |  |
|  | Type Super Widefield Eyepiece :10x / 23 |  | ☐ Yes ☐ No |  |
|  | Eye Cups, Dual |  | ☐ Yes ☐ No |  |
|  | Sub stage of ~ 14 cm x 16 cm |  | ☐ Yes ☐ No |  |
|  | Rack and pinion adjustable height, with bilateral coaxial focus. |  | ☐ Yes ☐ No |  |
|  | Fine adjustment, in 0.1 mm steps |  | ☐ Yes ☐ No |  |
|  | Course adjustment up to 15 mm or better. |  | ☐ Yes ☐ No |  |
|  | Slide holder (stage) with incorporated scale of 0.1 mm to incorporate smooth X (~ 50 mm) and Y (~ 75 mm) movement |  | ☐ Yes ☐ No |  |
|  | Halogen illumination: 30 W or better |  | ☐ Yes ☐ No |  |
|  | Daylight (blue) filter |  | ☐ Yes ☐ No |  |
|  | F.O.V.: 22 mm or close equivalent |  | ☐ Yes ☐ No |  |
|  | Dust cover shall be included |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
| 4 | Microscope, Binocular |  |  |  |
|  | Name of Manufacturer | 19 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | FOCUS |  | ☐ Yes ☐ No |  |
|  | Stroke:25 mm |  | ☐ Yes ☐ No |  |
|  | Fine Stroke per Rotation:100 μm |  | ☐ Yes ☐ No |  |
|  | Minimum Graduation :1μm |  | ☐ Yes ☐ No |  |
|  | Maximum Specimen Height: Not applicable. The microscope shall be designed for use with standard laboratory slides. Specimen accommodation shall be governed by the working distance of the objective lenses and stage configuration. |  | ☐ Yes ☐ No |  |
|  | Light Source: LED |  | ☐ Yes ☐ No |  |
|  | The microscope unit shall incorporate advanced technology and optics components for use in general medical laboratory applications |  | ☐ Yes ☐ No |  |
|  | OBSERVATION TUBE |  | ☐ Yes ☐ No |  |
|  | Inclined binocular tube head with ~ 30° angle and 360° rotation |  |  |  |
|  | Adjustable inter-pupillary distance ~ 55 – 75 mm. Specify exact range. |  | ☐ Yes ☐ No |  |
|  | Dual eyepieces 10x with diopter adjustment of ~ +/-5 D, compensating for any visual differences. |  | ☐ Yes ☐ No |  |
|  | Color coded plan achromatic brightfield or other as required for each specialty objectives for easy and rapid identification. To be supplied as per intended use in terms of magnification and type |  | ☐ Yes ☐ No |  |
|  | Quadruple (sextuple for dual head microscopes) rotating objective nose-piece, with ball bearing mechanism and stop locator when in the correct position. |  | ☐ Yes ☐ No |  |
|  | Plan Achromatic Objectives |  | ☐ Yes ☐ No |  |
|  | Polarizer |  | ☐ Yes ☐ No |  |
|  | Sub stage of ~ 14 cm x 16 cm |  | ☐ Yes ☐ No |  |
|  | Rack and pinion adjustable height, with bilateral coaxial focus. |  | ☐ Yes ☐ No |  |
|  | Fine adjustment, in 0.1 mm steps |  | ☐ Yes ☐ No |  |
|  | Course adjustment up to 15 mm or better. |  | ☐ Yes ☐ No |  |
|  | Slide holder (stage) with incorporated scale of 0.1 mm to incorporate smooth X (~ 50 mm) and Y (~ 75 mm) movement |  | ☐ Yes ☐ No |  |
|  | ABBE Condenser to be included in the standard configuration. The offer shall include the following condensers: |  | ☐ Yes ☐ No |  |
|  | Swing out condenser |  | ☐ Yes ☐ No |  |
|  | Achromatic condenser |  | ☐ Yes ☐ No |  |
|  | Dark field condenser |  | ☐ Yes ☐ No |  |
|  | Phase contrast condenser |  | ☐ Yes ☐ No |  |
|  | Halogen illumination: 30 W or better |  | ☐ Yes ☐ No |  |
|  | Daylight (blue) filter |  | ☐ Yes ☐ No |  |
|  | F.O.V.: 22 mm or close equivalent |  | ☐ Yes ☐ No |  |
|  | Dust cover shall be included |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
| 5 | Centrifuges |  |  |  |
|  | Name of Manufacturer | 6 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Microprocessor controlled, medium size, bench top centrifuge for general clinical laboratory use |  | ☐ Yes ☐ No |  |
|  | Accuracy Speed:+-10 rpm |  | ☐ Yes ☐ No |  |
|  | To incorporate digital display for speed (actual and set), RCF and time, as well as other operating indicators such as lid locked, door closed/open, status, etc |  | ☐ Yes ☐ No |  |
|  | Manually adjustable parameters as well as user programming capability. State number of user defined programs and programmable parameters (speed, time, acceleration, rotor type, brake, etc.) |  | ☐ Yes ☐ No |  |
|  | Variable centrifugation speed up to ~ 6000 rpm |  | ☐ Yes ☐ No |  |
|  | Variable acceleration and deceleration and brake ramping |  | ☐ Yes ☐ No |  |
|  | Variable Relative Centrifugation Force |  | ☐ Yes ☐ No |  |
|  | Variable timer up to 60 min or better as well as continuous operation |  | ☐ Yes ☐ No |  |
|  | Swing out rotor with four buckets (and corresponding inserts) that can be used as open or closed. Sealing lid shall be included for each bucket. |  | ☐ Yes ☐ No |  |
|  | Rotator adaptors included |  | ☐ Yes ☐ No |  |
|  | 4 x (15 x 7 ml) tubes |  | ☐ Yes ☐ No |  |
|  | 4 x (8 x 15 ml) tubes |  | ☐ Yes ☐ No |  |
|  | 4 x (13 x 10 ml) tubes |  | ☐ Yes ☐ No |  |
|  | Micro-tubes for microbiology |  | ☐ Yes ☐ No |  |
|  | To incorporate air circulation system to prevent excessive temperature increase within the centrifugation chamber |  | ☐ Yes ☐ No |  |
|  | Brushless induction drive |  | ☐ Yes ☐ No |  |
|  | SS bowl and lid interior |  | ☐ Yes ☐ No |  |
|  | Easily removable rotor for cleaning the bowl |  | ☐ Yes ☐ No |  |
|  | Internal safety chamber (steel or similar) between the bowl and outer case |  | ☐ Yes ☐ No |  |
|  | Insulated interior for noiseless and vibration-free operation. Specify noise level. |  | ☐ Yes ☐ No |  |
|  | Smooth, low noise motor (state motor suspension method) |  | ☐ Yes ☐ No |  |
|  | Rubber positioning feet to prevent the unit from slipping |  | ☐ Yes ☐ No |  |
|  | Lid opening prevention mechanism when the rotor is turning |  | ☐ Yes ☐ No |  |
|  | Emergency stop capability |  | ☐ Yes ☐ No |  |
|  | Rotor imbalance detection system |  | ☐ Yes ☐ No |  |
|  | Audio visual alarm with identification of problem or error code for easy troubleshooting |  | ☐ Yes ☐ No |  |
|  | Electromagnetic lid locking system with power fail manual override |  | ☐ Yes ☐ No |  |
|  | Pulse button |  | ☐ Yes ☐ No |  |
|  | Automatic rotor identification and verification with auto program |  | ☐ Yes ☐ No |  |
|  | Over speed detection system |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
|  | compliant with IEC 60601 or equivalent. |  | ☐ Yes ☐ No |  |
|  | Built-in protections against over-voltage and over-current line conditions. |  | ☐ Yes ☐ No |  |
| 6 | Centrifuges, Micro, Tabletop |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Tabletop |  | ☐ Yes ☐ No |  |
|  | Digital display of parameter values and Fault code display. |  | ☐ Yes ☐ No |  |
|  | Microprocessor controlled |  | ☐ Yes ☐ No |  |
|  | Brushless drive motor |  | ☐ Yes ☐ No |  |
|  | Water-protected foil keypad with integrated user-friendly control unit in the front panel. |  | ☐ Yes ☐ No |  |
|  | Easy to clean stainless steel chamber housing, Emergency lid lock release and lid viewing port. |  | ☐ Yes ☐ No |  |
|  | Maximum Speed: Approximately. 12,500 rpm |  | ☐ Yes ☐ No |  |
|  | Maximum RCF:9,800 x g |  | ☐ Yes ☐ No |  |
|  | Maximum acceptable Sound level approximately 60 dBA |  | ☐ Yes ☐ No |  |
|  | Automatic rotor recognition feature and change RPM/RCF by entering rotor. |  | ☐ Yes ☐ No |  |
|  | Speed Increment:100 rpm Increments |  | ☐ Yes ☐ No |  |
|  | Running time: Timer Set/Display 1 min - 99 min with countdown timer |  | ☐ Yes ☐ No |  |
|  | RCF Increment:100 x g Increments |  | ☐ Yes ☐ No |  |
|  | Memory: to hold a minimum of 10 running programs. |  | ☐ Yes ☐ No |  |
|  | ALERT INDICATORS |  | ☐ Yes ☐ No |  |
|  | Imbalance |  | ☐ Yes ☐ No |  |
|  | End of run |  | ☐ Yes ☐ No |  |
|  | lid open |  | ☐ Yes ☐ No |  |
|  | Provided with Short spin key to spin the rotor at pre-selected speed or RCF (continuous key press). |  | ☐ Yes ☐ No |  |
|  | Provided with sealed buckets for aerosol containment (i.e. inner lid and individual lids) |  | ☐ Yes ☐ No |  |
|  | Safety Imbalances switch off, along with Lid locking/holding during run. |  | ☐ Yes ☐ No |  |
|  | Must be able to handle paediatric samples and all other regularly used tubes in Phlebotomy sample |  | ☐ Yes ☐ No |  |
|  | ROTOR AVAILABLE |  | ☐ Yes ☐ No |  |
|  | Fixed angle |  | ☐ Yes ☐ No |  |
|  | Tube Rotor Capacity:24 x 1.5 / 2.0 ml |  | ☐ Yes ☐ No |  |
|  | Adapters ( Set of 12):0.2 ml & 0.5 ml |  | ☐ Yes ☐ No |  |
|  | PCR tubes |  | ☐ Yes ☐ No |  |
|  | Microtubes |  | ☐ Yes ☐ No |  |
|  | Rotor Identification |  | ☐ Yes ☐ No |  |
|  | Rotor Cover |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source Compliant with IEC 60601 or equivalent |  | ☐ Yes ☐ No |  |
|  | Built-in protections against over-voltage, over-current line conditions and defibrillator discharge. |  | ☐ Yes ☐ No |  |
| 7 | Counters, Digital, Differential |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Microprocessor controlled |  | ☐ Yes ☐ No |  |
|  | Provided with Count Correction feature |  | ☐ Yes ☐ No |  |
|  | Digital LED display with bright backlit. |  | ☐ Yes ☐ No |  |
|  | KEYBOARD WITH SOFT-TOUCH KEYS |  | ☐ Yes ☐ No |  |
|  | KEY FOR PERCENTAGE |  | ☐ Yes ☐ No |  |
|  | KEY FOR TOTAL |  | ☐ Yes ☐ No |  |
|  | NO. OF KEYS:18 |  | ☐ Yes ☐ No |  |
|  | Alarm actuates every 100 counts |  | ☐ Yes ☐ No |  |
|  | Must be able to count NRBCs and correct WBC. |  | ☐ Yes ☐ No |  |
|  | To display counts to 999 |  | ☐ Yes ☐ No |  |
|  | Each counting channel to display 2 digits and total display of 3 digits |  | ☐ Yes ☐ No |  |
|  | Soft-touch keys with audible click to acknowledge entry. |  | ☐ Yes ☐ No |  |
|  | Sealed switches |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
|  | Built-in protections against over-voltage and over-current line conditions. |  | ☐ Yes ☐ No |  |
| 8 | Microscope, Light |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | ILLUMINATOR |  | ☐ Yes ☐ No |  |
|  | Light Source :LED |  | ☐ Yes ☐ No |  |
|  | FOCUS |  | ☐ Yes ☐ No |  |
|  | Stroke:25 mm |  | ☐ Yes ☐ No |  |
|  | Fine Stroke per Rotation:100 μm |  | ☐ Yes ☐ No |  |
|  | Minimum Graduation :1μm |  | ☐ Yes ☐ No |  |
|  | Maximum Specimen Height:50 to 65 mm |  | ☐ Yes ☐ No |  |
|  | The microscope unit shall incorporate advanced technology and optics components for use in general medical laboratory applications |  | ☐ Yes ☐ No |  |
|  | OBSERVATION TUBE |  | ☐ Yes ☐ No |  |
|  | Inclined binocular tube head with ~ 30° angle and 360° rotation |  | ☐ Yes ☐ No |  |
|  | Interpupillary Distance Adjustment (in mm):54 to 76 mm |  | ☐ Yes ☐ No |  |
|  | Dual eyepieces 10x with diopter adjustment of ~ +/-5 D, compensating for any visual differences. |  | ☐ Yes ☐ No |  |
|  | Total Magnification: 3.0x to 15.5x |  | ☐ Yes ☐ No |  |
|  | Quadruple rotating objective nose-piece, with ball bearing mechanism and stop locator when in the correct position. |  | ☐ Yes ☐ No |  |
|  | Plan Achromatic Objectives |  | ☐ Yes ☐ No |  |
|  | Polarizer |  | ☐ Yes ☐ No |  |
|  | Sub stage of ~ 14 cm x 16 cm |  | ☐ Yes ☐ No |  |
|  | Rack and pinion adjustable height, with bilateral coaxial focus. |  | ☐ Yes ☐ No |  |
|  | Fine adjustment, in 0.1 mm steps |  | ☐ Yes ☐ No |  |
|  | Course adjustment up to 15 mm or better. |  | ☐ Yes ☐ No |  |
|  | Slide holder (stage) with incorporated scale of 0.1 mm to incorporate smooth X (~ 50 mm) and Y (~ 75 mm) movement |  | ☐ Yes ☐ No |  |
|  | Halogen illumination: 30 W or better |  | ☐ Yes ☐ No |  |
|  | Daylight (blue) filter |  | ☐ Yes ☐ No |  |
|  | F.O.V.: 22 mm or close equivalent |  | ☐ Yes ☐ No |  |
|  | Dust cover shall be included |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
| 9 | Steam Sterilizers, Benchtop |  |  |  |
|  | Name of Manufacturer | 3 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Microprocessor controlled fully automatic bench top steam sterilizer |  | ☐ Yes ☐ No |  |
|  | "Application: Media Preparation |  | ☐ Yes ☐ No |  |
|  | Chamber capacity approx. (litters): 25 L |  | ☐ Yes ☐ No |  |
|  | Temperature of sterilization: 121°C & 134°C |  | ☐ Yes ☐ No |  |
|  | Steam pressure:1.1 bar to 2.2 bar |  | ☐ Yes ☐ No |  |
|  | Cycle Stages |  | ☐ Yes ☐ No |  |
|  | Air removing, Steam admission, Sterilization, Drying(air pump) |  | ☐ Yes ☐ No |  |
|  | Automatic cycle shut off |  | ☐ Yes ☐ No |  |
|  | Test Cycles |  | ☐ Yes ☐ No |  |
|  | Bowie & Dick test. |  | ☐ Yes ☐ No |  |
|  | Vacuum leak test |  | ☐ Yes ☐ No |  |
|  | Air Removal System Vacuum pump. |  | ☐ Yes ☐ No |  |
|  | Steam Generation |  | ☐ Yes ☐ No |  |
|  | Separate electrical steam generator. |  | ☐ Yes ☐ No |  |
|  | Automatic water filling from reservoir tank. |  | ☐ Yes ☐ No |  |
|  | Automatic water drainage (from chamber) to reservoir tank |  | ☐ Yes ☐ No |  |
|  | Over heat shut off & Over Pressure Safety Valve |  | ☐ Yes ☐ No |  |
|  | Doors operation |  | ☐ Yes ☐ No |  |
|  | SINGLE front door, with safety interlocks and alarms. |  | ☐ Yes ☐ No |  |
|  | Ability to (safe manual) open door after power failure and errors |  | ☐ Yes ☐ No |  |
|  | Controller |  | ☐ Yes ☐ No |  |
|  | Fully automatic control (microprocessor, microcomputer), multi programs, programmable parameters |  | ☐ Yes ☐ No |  |
|  | Front Panel & Indicators |  | ☐ Yes ☐ No |  |
|  | LCD display for pressure and temperature |  | ☐ Yes ☐ No |  |
|  | Controlling, Process status, temperature, pressure, time, complete cycle, door status and fault. |  | ☐ Yes ☐ No |  |
|  | Ability to stop cycle any time. |  | ☐ Yes ☐ No |  |
|  | Water proof buttons (membrane or equivalent) |  | ☐ Yes ☐ No |  |
|  | Alarms & Errors Included for any failure with (code or description on LCD). |  | ☐ Yes ☐ No |  |
|  | Service software To allow access and modify of control settings and |  | ☐ Yes ☐ No |  |
|  | Printer Included, external type , please price separately |  | ☐ Yes ☐ No |  |
|  | Water Supply & Reservoir Tanks |  | ☐ Yes ☐ No |  |
|  | Included, with manual and automatic water filling. |  | ☐ Yes ☐ No |  |
|  | Water level indicator and alarm, included. |  | ☐ Yes ☐ No |  |
|  | Water level control to ensure equipment does not run dry (Automatic cut-off) |  | ☐ Yes ☐ No |  |
|  | Water quality (conductivity) sensor - Included (built-in) as safety device - For protection and make sterilizer to block from water filling and cycle not start in case bad water conductivity (as recommended from the manufacturer), with indicators and alarms. - Outlet connection for water drainage (included) |  | ☐ Yes ☐ No |  |
|  | Water supply system - Treated, purified or distilled water as recommended by manufacturer - Specify price separately and running costs - Data sheets and catalogues should be included. |  | ☐ Yes ☐ No |  |
|  | Materials & construction:- |  | ☐ Yes ☐ No |  |
|  | Chamber, Door and Steam generator: - Stainless steel 316L (or higher quality) with adequate thickness according international standards (specify). |  | ☐ Yes ☐ No |  |
|  | Pipes and connections: - High quality s/s, copper and temperature & pressure resistant hoses. |  | ☐ Yes ☐ No |  |
|  | Insulation: - Must be for chamber Machine dimensions Compact size to fit on typical clinics counter (specify dimensions ) |  | ☐ Yes ☐ No |  |
|  | Accessories for each sterilizer - S/S or Aluminum Instrument trays [Qty: as a capacity of chamber]. Paper printer: Qty: 25 rolls. Hoses for filling and drain reservoirs. |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
|  | Compliant with IEC 60601 or equivalent |  | ☐ Yes ☐ No |  |
|  | Built-in protections against over-voltage and over-current line conditions. |  | ☐ Yes ☐ No |  |
| 10 | Hamper, Linen |  |  |  |
|  | Name of Manufacturer | 2 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | General Specifications |  | ☐ Yes ☐ No |  |
|  | Constructed of powder-coated steel frame or equivalent. |  | ☐ Yes ☐ No |  |
|  | Can hold one 60-liter linen bags. |  | ☐ Yes ☐ No |  |
|  | Shall have a base plate for supporting the linen bags. The base plate shall be removable for easy cleaning. |  | ☐ Yes ☐ No |  |
|  | Shall have a plastic cover that is impact and scratch resistant. |  | ☐ Yes ☐ No |  |
|  | Mounted on 4 castors with brakes |  | ☐ Yes ☐ No |  |
| 11 | Washer, disinfector, under counter |  |  |  |
|  | Name of Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | General Specifications |  | ☐ Yes ☐ No |  |
|  | A fully automatic microprocessor controlled programmable washer with wash and rinse modes. |  | ☐ Yes ☐ No |  |
|  | Front loading type with Load bearing drop-down door and extendable rack rails for loading. |  | ☐ Yes ☐ No |  |
|  | Safety glass window to allow viewing during washer operation |  | ☐ Yes ☐ No |  |
|  | Under Counter Model (Must fit in the available space per drawings) |  | ☐ Yes ☐ No |  |
|  | Digital display control panel with at least 10 pre-set washing programs |  | ☐ Yes ☐ No |  |
|  | Display to indicate the cycle in progress & remaining time |  | ☐ Yes ☐ No |  |
|  | Programming capability of cold water wash and rinse |  | ☐ Yes ☐ No |  |
|  | Door Interlock with viewing window with LED interior light that allows observation of cycle progress |  | ☐ Yes ☐ No |  |
|  | Deliver high flow rate and low-pressure for thorough cleaning without breakage of washed items. |  | ☐ Yes ☐ No |  |
|  | Automatic Detergent and Acid Additive Pumps dispenser |  | ☐ Yes ☐ No |  |
|  | Electrical Water Heating (type 304 stainless steel) submersion elements provide heating up to 95°C. |  | ☐ Yes ☐ No |  |
|  | Built-in steam coil and electrical immersion heaters |  | ☐ Yes ☐ No |  |
|  | Built-in forced air drying system |  | ☐ Yes ☐ No |  |
|  | Minimum inlet water pressure |  | ☐ Yes ☐ No |  |
|  | Water Filters must be Included (Including hoses and water inlet valves) |  | ☐ Yes ☐ No |  |
|  | Double Filter System within chamber to protect recirculation and drain pump. (or equivalent) |  | ☐ Yes ☐ No |  |
|  | Provided and/or Built-in Filters can be easily removed for inspection and cleaning. |  | ☐ Yes ☐ No |  |
|  | Complete Service Panel access Built-in safety interlock to interrupted washer operation, when door is opened, heaters, safety relays and circuit breakers. |  | ☐ Yes ☐ No |  |
|  | Built-in alarm for over temperature condition |  | ☐ Yes ☐ No |  |
|  | Body, Door, Washing Chamber made of sanitary high-grade finish AISI 304L stainless construction |  | ☐ Yes ☐ No |  |
|  | Using a diverse range of racks, baskets, and accessories. (To be supplied complete with all accessories) |  | ☐ Yes ☐ No |  |
|  | Installation of this item must be coordinated with counters installation |  | ☐ Yes ☐ No |  |
|  | Shall be CE marked and/or FDA approved |  | ☐ Yes ☐ No |  |
| 12 | Steam Sterilizer, vertical 100 liter |  |  |  |
|  | Name of Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | The unit should have fully automated, microprocessor controlled operation |  | ☐ Yes ☐ No |  |
|  | Table top steam sterilizer. |  | ☐ Yes ☐ No |  |
|  | The unit shall operate on vacuum principle, incorporating pre-set standard programs (wrapped instruments, textile) as a minimum. |  | ☐ Yes ☐ No |  |
|  | Test programs shall be incorporated (Bowie Dick and leak) |  | ☐ Yes ☐ No |  |
|  | The unit shall have vacuum pump. |  | ☐ Yes ☐ No |  |
|  | Stainless Steel interior (steam jacketed). |  | ☐ Yes ☐ No |  |
|  | Built-in thermal printer or connected to external one for detailed cycle documentation. |  | ☐ Yes ☐ No |  |
|  | Door safety system with safety interlock to prevent accidental door opening when chamber is pressurized or during cycle |  | ☐ Yes ☐ No |  |
|  | Digital screen that clearly displays cycle parameters such as (temp, pressure, cycle status, etc…) |  | ☐ Yes ☐ No |  |
|  | The unit shall be equipped with a built in electric heating elements or small steam generator. |  | ☐ Yes ☐ No |  |
|  | The unit shall have a built in water reservoir for minimal installation requirements. Connection to external water / drain supply should be included in addition to the needed hoses or connections. |  | ☐ Yes ☐ No |  |
|  | Sterilizer chamber capacity: 100 liters or better. |  | ☐ Yes ☐ No |  |
|  | The chamber shall accept horizontal loading and accommodate at least two (removable) trays or cassettes. |  | ☐ Yes ☐ No |  |
|  | Trays to be included. |  | ☐ Yes ☐ No |  |
|  | Standard accessories and any needed accessories should be included to ensure full operation. |  | ☐ Yes ☐ No |  |
|  | Optional accessories or parts should be listed and quoted separately. |  | ☐ Yes ☐ No |  |
|  | Shall be CE marked and/or FDA approved. |  | ☐ Yes ☐ No |  |
| 13 | Sterilizer, Steam |  |  |  |
|  | Name of Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Fully automatic microprocessor controlled. |  | ☐ Yes ☐ No |  |
|  | Single-door model. |  | ☐ Yes ☐ No |  |
|  | Standalone unit (not recessed type); Metal sheet packing for chamber and jacket insulation |  | ☐ Yes ☐ No |  |
|  | Carrier components should be constructed from high quality stainless steel. |  | ☐ Yes ☐ No |  |
|  | Frame of sterilizer made from robust anticorrosive material. |  | ☐ Yes ☐ No |  |
|  | units to work on an electric steam generator with the ability to work on Central steam supply. |  | ☐ Yes ☐ No |  |
|  | Low noise level |  | ☐ Yes ☐ No |  |
|  | Sterilization Pressure Vessel: - Made from high quality stainless steel 316L or 316Ti. - Vessel designed and manufactured according to pressure equipment directive (PED) No. 97/23/EC and/or ASME. - Capacity: 8 STU baskets (STU=30*30*60 cm) - Well insulated Steam Jacket made from high quality stainless steel 316 L or higher. - Rails for loading carts made from Stainless steel 316L or higher. |  | ☐ Yes ☐ No |  |
|  | Electric steam generator - Constructed from high quality stainless steel 316L or higher. - Designed and manufactured according to pressure equipment directive (PED) No. 97/23/EC. - Minimum power = 40 KW. - Automatic blow down of generator. - Feed water pump to feed the generator. - Controlled via water level sensors and pressure transducer (or pressure switch). - Circuit breakers for heating elements. - Steam generator should be connected to R.O or demineralized water only. |  | ☐ Yes ☐ No |  |
|  | Door - Single door model: either manual or automatic. b- Durable Solid silicon long service life door gaskets, gaskets should be replaced freely during warranty period or as recommended in P.P.M plan. |  | ☐ Yes ☐ No |  |
|  | Vacuum Device: - Powerful water ring vacuum pump that provide fast removal of air during pretreatment and fast effective drying, vacuum pump should be connected to soft water only. - Low noise pump. - Durable efficient long service life heat exchangers that provide steam cooling during drain phase, heat exchangers should be connected to cold soft water only. - Water saving system, total water consumption should be stated clearly during a standard 134 C° cycle. |  | ☐ Yes ☐ No |  |
|  | Control System and operating panel: - Absolute dual pressure transducers for the precise control and record of pressure and vacuum in the chamber. - Dual Resistance temperature sensors PT 100 for the precise control and record of temperature in the chamber. - Pressure transducer and/or temperature sensor for the precise control of pressure and temperature in the jacket. - Operating panel with a large LCD screen indicating selected program, program phase, door positions, time and error notifications in English language. - Auto diagnostic system providing error codes on display in case of failure accompanied with audio notification. - Integrated printer for sterilization process including time, program, error codes, temperature and pressure and result of sterilization process. - Manual or automatic changeover between central steam and electric steam generator. |  | ☐ Yes ☐ No |  |
|  | Safety features: - Chamber and jacket should be equipped with overpressure safety valves, or one safety valve to be installed on main steam supply. - Steam generator should be equipped with overpressure safety valve. - Doors should be equipped with safety lock (latch) to prevent door opening during operation. - Automatic switch off of heating elements in case of low water level inside the generator. - Dual control of pressure and temperature inside the chamber to assure correct values. |  | ☐ Yes ☐ No |  |
|  | Sterilization and testing programs at least: - Wrapped instruments/textiles 134° C. - Rubber goods 121° C. - Heavy instruments with intensive drying 134°C. - Flash rapid Cycle 134° C. - Vacuum leak test cycle - Bowie & Dick test cycle |  | ☐ Yes ☐ No |  |
|  | Accessories: - One batch rack per sterilizer: 2 shelves made from high quality stainless steel capacity of 8 STU baskets. - Two transfer trolleys per sterilizer: made from high quality robust anticorrosive material, with push handle and four antistatic castors, height adjustable. - 24 stainless steel baskets (STU) per sterilizer (30*30*60 cm) made from stainless steel. Specify manufacturer of baskets and origin. |  | ☐ Yes ☐ No |  |
|  | Pre-installation and installation shall include: - Must be done according to manufacturer requirements as mentioned in the installation manual and according to international standards. - All sterilizers to come alongside each other to create a barrier between clean and sterile areas,. - remaining space between machines, walls and ceiling must be closed by stainless steel 304 on both sides (loading and unloading) - Paneling should be effective sealing to prevent air flow from clean area to sterile area; base panels should be included on both areas. - Stainless steel service doors in clean area for maintenance staff to access both sides of the machine (left and right sides). - Installation must guarantee adequate remaining spaces for service reasons between the sterilizers and between side walls and the sterilizers. Specify remaining spaces - Steam supply line should be connected to pressure regulator (spirax or equivalent), pressure gauge, steam filter, steam trap. - Water supply lines should be connected to manual gauges and strainer. - Air supply line should be connected to air regulator, manual gauge and water trap. - Any required additional civil and electromechanical work is the sole responsibility of the supplier. - Power Supply: 3 Phases 380 Volts 50-60 Hz |  | ☐ Yes ☐ No |  |

Delivery requirements –– Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods [120 calendar days] after Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP to Hospitals and Institutes mentioned in Bills of quantity tables- Form B, in case that the site is not ready, the supplier agrees to store the equipment in their warehouse until the site is prepared to receive the equipment. Incoterms rules as per Incoterms 2020. | ☐ Yes ☐ No | Insert details |
| Consignee details | This Shall include the Installation and Training requirements. Consignee will be the UNOPS and MoH representative | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

00ax: +45 45 33 75 01

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

If subcontracting is anticipated in the performance by the contractor, Procurement Official should insert the following:

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

(C)_________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form D: Previous Experience Form

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of Bidder]

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form E: Self Disclosure Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

| Ref. | Critical area | Response | Comments |
| --- | --- | --- | --- |
| 1 | Has the entity or individual declared bankruptcy, or been involved in bankruptcy or receivership proceedings, or is there any judgment or pending legal action against them, which could impair operations in the foreseeable future; | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 2 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) in breach of their obligations relating to the payment of taxes or social security contributions? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 3 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) guilty of misconduct for the violation of applicable laws, regulations or ethical standards of the profession to which they belong? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 4 | Has the entity or individual engaged, or attempted to engage, in any Proscribed Practices in the past? For the purposes of this provision, “Proscribed Practices” are defined in the UNOPS Operational Instruction on Vendor Sanctions and include the following: - A corrupt practice: the offering, giving, receiving, or soliciting, directly or indirectly, anything of value to influence improperly the actions of another party; - A fraudulent practice: any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; - A coercive practice: an act or omission that impairs or harms, or threatens to impair or harm, directly or indirectly, any party or the property of the party to improperly influence the actions of a party; - A collusive practice: an arrangement between two or more parties designed to achieve an improper purpose, including influencing improperly the actions of another party; - An unethical practice: Conduct or behaviour that is contrary to the conflict of interest, gifts and hospitality, post-employment provisions or other published requirements of doing business with UNOPS; and - Obstruction: Acts or omissions by a Vendor that prevent or hinder UNOPS from investigating instances of possible Proscribed Practices. | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 5 | Has the entity or individual unduly obtained, or attempted to unduly obtain, any confidential information in connection with this procurement process and any agreement that may be awarded as a result of this process? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 6 | Does the entity or individual have a conflict of interest, as provided in the Instructions to bidders, Article 3 “Bidder eligibility”, that may prevent them from entering into an agreement with UNOPS, or that may in any way jeopardize their performance in carrying out their obligations under the agreement? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 7 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) to be involved in any of the following: - Fraudulent practice; - Corrupt practice; - Affiliation with a criminal organization; - Money laundering; - Terrorist financing; - Child labour; or - Human trafficking? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 8 | Has the entity or individual had significant performance issues in the past that led to the early termination of a legal commitment or the application of damages or other contractual penalties, or that were discovered following inspections, audits or investigations? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 9 | Has the entity or individual committed any financial irregularity, resulting from an act or omission or the inclusion of an unjustified item of expenditure outside a contractual engagement that had the effect of prejudicing their use of public funds? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 10 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) to have created an entity in a different jurisdiction with the intent of circumventing fiscal, social or any other legal obligations in the jurisdiction of their registered office, central administration or principal place of business? | Select | [If the response is ‘Yes’, provide an explanation here.] |

I, the undersigned, hereby declare that the information provided is true and correct. I also understand that any willful dishonesty may result in the refusal of this submission. I understand that engagement in any of the above critical areas may, at the discretion of UNOPS, automatically result in the exclusion from this procurement process.

| Name: |  |
| --- | --- |
| Title |  |
| Date: | Sep 10, 2024 |
| Signature |  |

[Stamp this form with the official stamp of the bidder]

Form F: Joint Venture Partner Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below].

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

| JV / Consortium/ Association Information |  |
| --- | --- |
| Name | [complete] |
| Names of each partner and contact information (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| Name of leading partner (with authority to bind the JV, Consortium, Association during the Bidding process and, in the event a Contract is awarded, during contract execution) | [complete] |
| Proposed proportion of responsibilities between partners (in %) with indication of the type of the goods/services to be delivered by each | [complete] |

Signatures of all partners of the JV:

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Form G: Manufacturer’s Authorization Form

A letter issued by the manufacturer authorizing the applicant to participate in this particular RFQ must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: [bidder to insert]

WHEREAS

We [insert complete name of manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of manufacturer’s factories], do hereby authorize [insert complete name of bidder] to submit a bid the purpose of which is to provide the following goods, manufactured by us [insert name and or brief description of the goods], and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 13 of the General Conditions for Goods, with respect to the goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]