Section III: Returnable Bidding Forms

eSourcing reference:   RFQ/2026/62289]

Note to Bidders: The following returnable forms are part of this RFQ and must be completed and returned by bidders as part of their quotation. Instructions to complete each Form are highlighted in blue in each Form. Please complete the Returnable Bidding Forms as instructed and return them as part of your quotation by uploading them against their specific Document Checklist in the UNOPS eSourcing system.

This Section comprises the following Returnable Bidding Forms:

- Form A: Quotation Submission Form

- Form B: Price Schedule Form

- Form C: Technical Quotation Form

- Form D: Previous Experience Form

- Form E: Self Disclosure Form

- Form F: Joint Venture Partner Information Form

- Form G: Manufacturer’s authorization form

Form A: Quotation submission form

Bidders are requested to complete this form, sign it and return it as part of their bid submission. The bidder shall fill in this form in accordance with the instructions indicated. No alterations to its format shall be permitted and no substitutions shall be accepted.

Date: [Insert submission date]

Subject: Quotation for the supply of [Insert a brief description of goods/services] in [Name of country/city], RFQ Case No. [Insert RFQ ref number], dated [insert date]

We, the undersigned, declare that:

  - We offer to supply in conformity with the bidding documents, including the UNOPS General Conditions of Contract;

  - Our quotation shall be valid for the period of time of [insert number of days which shall not be less than the specified in the Tender Particulars section, Period of Validity of Quotations] from the date fixed for the submission deadline as set out in the RFQ, and it shall remain binding upon us and may be accepted at any time before the expiration of that period;

  - We have no conflict of interest in any activity that would put it, if selected for this assignment, in a conflict of interest with UNOPS [If you have any actual or potential conflict of interest as defined in Article 3 of Section I: Instructions to Bidders, please disclose it here];;

  - Our firm confirms that the offeror and sub-contractors have not been associated, or had been involved in any way, directly or indirectly, with the preparation of the design, terms of references and/or other documents used as a part of this solicitation;

  - Our firm, its affiliates or subsidiaries—including any subcontractors or suppliers for any part of the Contract—has not been declared ineligible by UNOPS, nor is included in the suspended/ineligibility list of the UN/PD, other UN Agencies, the UN Security Council, and the World Bank, in accordance with Instructions to Bidders Article 3, Eligibility;

  - We embrace the UN Supplier Code of Conduct and adhere to the principles of the UN Global Compact;

  - We have not declared bankruptcy, are not involved in bankruptcy or receivership proceedings, and there is no judgment or pending legal action against them that could impair their operations in the foreseeable future;

  - We have not offered and will not offer fees, gifts and/or favours of kind in exchange for this RFQ and will not engage in any such activity during the performance of any Contract awarded.

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this quotation and bind [insert full name of bidder] should UNOPS accept this quotation:

Name: [complete]

Title: [complete]

Date: [complete]

Signature: _____________________________________________________________

Provide the name and contact information for the primary contact from your company for this quotation:

Name: [complete]

Title: [complete]

Email address: [complete]

Telephone: [complete]

# Form B: Price Schedule Form

Bidders shall fill in this Price Schedule Form in accordance with the instructions indicated.

**Please fill in all your prices in the attached excel sheet and send it as (excel book) along with the below table**

Pricing Methodology:

- In addition to DAP price bidder to add a breakdown of prices: cost of goods cleared for export (FCA) separate from transport and insurance.

- The Supplier shall, within fourteen (14) days of Contract signature, provide a contingency plan for alternative routing (e.g., land corridors or bypass ports) should the primary maritime route be restricted.

- To confirm whether the primary components and finished goods are sourced from regions not currently subject to maritime blockades or significant transit disruptions in the Strait of Hormuz or Red Sea (Geographic Origin Declaration).

RFQ reference no: [insert RFQ reference No.]

| Currency | USD |
| --- | --- |

Bills of quantity Lot# 6: Supply & installation of fixed medical equipment in the Physiotherapy Department in Ameen Nasher - Aden, Yemen

| Item No | Description | Qty | Locations and Distributions | Unit Price DAP | Total Price DAP |
| --- | --- | --- | --- | --- | --- |
|  | Electrotherapy Machines | 1 | Ameen Nasher, Aden | insert | insert |
|  | Exercise Equipment | 1 | Ameen Nasher, Aden | insert | insert |
|  | Diagnostic and Monitoring Equipment | 1 | Ameen Nasher, Aden | insert | insert |
| 4 | Treatment Tables/Plinths | 1 | Ameen Nasher, Aden | insert | insert |
| 5 | Mobility Aids | 1 | Ameen Nasher, Aden | insert | insert |
| 6 | Pulley and Suspension Machines | 1 | Ameen Nasher, Aden | insert | insert |
| 7 | Therapeutic Ultrasound Gel Warmer | 1 | Ameen Nasher, Aden | insert | insert |
| Total Price |  |  |  |  | insert |

Payment terms 30 days accepted: ☐ Yes

Bidder’s discount for accelerated payment: ____% of total firm price for each calendar day less than thirty (30) days

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this Contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

- _________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of Bidder] to sign this quotation and bind [insert full name of Bidder] should UNOPS accept this quotation:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

Form C: Technical Quotation Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

Bidders are required to complete the Comparative Data Tables included in Section II: Schedule of Requirements to demonstrate compliance with UNOPS requirements and inserted below. Bidders are NOT allowed to make any change in the “UNOPS requirements” columns of the Comparative Data Tables. Such changes might disqualify your quotation.

Technical specifications for goods – Comparative Data Table

| Item No | UNOPS minimum technical requirements | Qty | Is quotation compliant? Bidder to complete | Details of goods offered. Bidder to complete |
| --- | --- | --- | --- | --- |
| 1 | Electrotherapy Machines |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | 2 Channels combination system |  | ☐ Yes ☐ No |  |
|  | Dual frequency Ultrasound at 1 and 3.3 MHz |  | ☐ Yes ☐ No |  |
|  | Combination ultrasound/electrotherapy system |  | ☐ Yes ☐ No |  |
|  | Pulsed or Continuous Duty Cycles (10%, 20%, 50% & 100%) |  | ☐ Yes ☐ No |  |
|  | Multiple waveform electrotherapy: Waveforms including Interferential, Russian, Biphasic, High Volt, Microcurrent and Premodulated |  | ☐ Yes ☐ No |  |
|  | Applicators, Specify |  | ☐ Yes ☐ No |  |
|  | LCD DISPLAY |  | ☐ Yes ☐ No |  |
|  | Therapy Cart |  | ☐ Yes ☐ No |  |
|  | Ultrasound Gel |  | ☐ Yes ☐ No |  |
|  | Voltage: 220V ; 50 HZ |  | ☐ Yes ☐ No |  |
| 2 | Exercise Equipment |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Function: Designed for wellness centers, clinical physical therapy, rehabilitation and functional sports training |  | ☐ Yes ☐ No |  |
|  | Type: Movable |  | ☐ Yes ☐ No |  |
|  | Shall provides unlimited incremental increases in resistance from 1% to 72% of user body weight and 26 pre-calibrated incline levels. |  | ☐ Yes ☐ No |  |
|  | LAT bars promote line of pull specificity for arm cable exercises. |  | ☐ Yes ☐ No |  |
|  | Weight Capacity: Up to 300 Kgs |  | ☐ Yes ☐ No |  |
|  | Electrical requirements: |  | ☐ Yes ☐ No |  |
|  | 230 V/50 Hz |  | ☐ Yes ☐ No |  |
| 3 | Vital Signs Monitor |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | The vital signs monitor should be used to spot check monitoring of the following vital signs |  | ☐ Yes ☐ No |  |
|  | a- Noninvasive blood pressure: MAP Range (25 - 230 mmHg),Accuracy : +-2% |  | ☐ Yes ☐ No |  |
|  | b- Temperature measurement by Welchallyn SureTemp or Covidien technologies. Range: 32-42 ºC,Accuracy: +-2% |  | ☐ Yes ☐ No |  |
|  | c- SpO2 pulse Oximeter range 1-100 %,Accuracy: +-2% |  | ☐ Yes ☐ No |  |
|  | d- Heart rate range: 35-235 BMP,Accuracy:+-2% |  | ☐ Yes ☐ No |  |
|  | Parameters displayed :Systolic Pressure, Diastolic Pressure,MAP,Pulse Rate,SpO2,Temp,system status, menus for user |  | ☐ Yes ☐ No |  |
|  | Adjustable high and low alarms |  | ☐ Yes ☐ No |  |
|  | alarm silence |  | ☐ Yes ☐ No |  |
|  | LCD display of size not less 8 inches |  | ☐ Yes ☐ No |  |
|  | To work on either direct ac power supply or through ac/dc adapter |  | ☐ Yes ☐ No |  |
|  | Memory :24 hrs data storage |  | ☐ Yes ☐ No |  |
|  | Built in rechargeable battery with a minimum of 3 hours operation when fully charged |  | ☐ Yes ☐ No |  |
|  | Original mounting trolley on five castors and accessories basket |  | ☐ Yes ☐ No |  |
|  | Thermal printer |  | ☐ Yes ☐ No |  |
|  | The following accessories must be included with monitor and quoted separately: |  | ☐ Yes ☐ No |  |
|  | a- Large adult cuff and hose Qty. 1 |  | ☐ Yes ☐ No |  |
|  | a- Adult cuff Qty. 1 |  | ☐ Yes ☐ No |  |
|  | c- Paediatric cuff Qty. 1 |  | ☐ Yes ☐ No |  |
|  | d- SpO2 probe and cable, reusable Qty. 1 |  | ☐ Yes ☐ No |  |
|  | e- Temperature sensor oral and cable Qty. 1 |  | ☐ Yes ☐ No |  |
|  | f- Temperature sensor rectal Qty. 1 |  | ☐ Yes ☐ No |  |
|  | g- Temperature sensor cover Qty. 2000 |  | ☐ Yes ☐ No |  |
|  | The price of all accessories (cuffs, probes and sensors) should be fixed for at least 5 years after warranty period. |  | ☐ Yes ☐ No |  |
|  | Electrical characteristics |  | ☐ Yes ☐ No |  |
|  | "A 220-240V, 50Hz single-phase electrical source |  | ☐ Yes ☐ No |  |
| 4 | Treatment Tables/Plinths |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Three Section |  | ☐ Yes ☐ No |  |
|  | Fixed height 75 cm,70 cm wide,190 cm length approx. |  | ☐ Yes ☐ No |  |
|  | face cutout |  | ☐ Yes ☐ No |  |
|  | High density foam cushion with seamless upholstery |  | ☐ Yes ☐ No |  |
|  | steel frame |  | ☐ Yes ☐ No |  |
|  | Powder coat paint |  | ☐ Yes ☐ No |  |
|  | Plywood cushion support |  | ☐ Yes ☐ No |  |
|  | Storage Shelf |  | ☐ Yes ☐ No |  |
| 5 | Mobility Aids |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Wheeled Walker with standing assistance to assist in mobility |  | ☐ Yes ☐ No |  |
|  | Frame is constructed of medical grade PVC pipe eliminating bacterial and fungi buildup |  | ☐ Yes ☐ No |  |
|  | Height adjustable |  | ☐ Yes ☐ No |  |
| 6 | Pulley and Suspension Machines |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Designed for both ambulatory and wheelchair users |  | ☐ Yes ☐ No |  |
|  | Vertical, Dual Column, Wall Mount |  | ☐ Yes ☐ No |  |
|  | Applications include shoulder, elbow and chest exercises |  | ☐ Yes ☐ No |  |
|  | Comes with the 2 - dual pulley systems with vertical travel and 2 pairs of aluminum handles |  | ☐ Yes ☐ No |  |
| 7 | Therapeutic Ultrasound Gel Warmer |  |  |  |
|  | Manufacturer | 1 | ☐ Yes ☐ No | Insert details of goods offered, including specifications and brand/model offered if applicable It is mandatory to send the brochures / data sheet of the product and identify the page number in those brochures to conform to the required specs. Fill all required details as mentioned above for all the cells below |
|  | Model/ catalogue number |  | ☐ Yes ☐ No |  |
|  | Country of Origin for the offered model |  | ☐ Yes ☐ No |  |
|  | Equipment offered must be covered by at least a 2 years full warranty starting the date of installation and Final Acceptance |  | ☐ Yes ☐ No |  |
|  | Valid MDR (EU) 2017/745 or US FDA (510K) regulatory approval as Medical Devices or as “IVD” as applicable |  | ☐ Yes ☐ No |  |
|  | Valid ISO 13485 or 9001 or equivalent |  | ☐ Yes ☐ No |  |
|  | Three bottle gel warmer |  | ☐ Yes ☐ No |  |
|  | Adjustable thermostat |  | ☐ Yes ☐ No |  |
|  | heat indicator lamp |  | ☐ Yes ☐ No |  |
|  | Electrical requirements: |  | ☐ Yes ☐ No |  |
|  | 230 V/50 Hz |  | ☐ Yes ☐ No |  |

Delivery requirements –– Comparative Data Table

| UNOPS Requirements |  | Is quotation compliant? Bidder to complete | Details Bidder to complete |
| --- | --- | --- | --- |
| Delivery time | Bidder shall deliver the goods [120 calendar days] after Contract signature. | ☐ Yes ☐ No | Insert details |
| Delivery place and Incoterms rules | Delivery at Place DAP to Incoterms rules as per Incoterms 2020. | ☐ Yes ☐ No | Insert details |
| Consignee details | This Shall include the Installation and Training requirements. Consignee will be the UNOPS and MoH representative | ☐ Yes ☐ No | Insert details |
| UNOPS Right to vary requirements | At the time the Contract is awarded, UNOPS reserves the right to vary the quantity of the goods and associated services specified above, provided this does not exceed +/- [20%] , without any change in the unit prices or other terms and conditions of the RFQ. | ☐ Yes ☐ No | Insert details |

00ax: +45 45 33 75 01

The offered goods and related services (if applicable) are in accordance with the required specifications and requirements specified in Section II: Schedule of Requirements.

☐ Yes   ☐ No

ANY DEVIATION MUST BE LISTED BELOW:

_________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

If subcontracting is anticipated in the performance by the contractor, Procurement Official should insert the following:

List of subcontractors or suppliers

Bidder must identify the names of all subcontractors/suppliers who will be providing good/services under this contract and the type of work being subcontracted, if applicable.

- _[Full legal name and address of subcontractors]___________

- _________________________________________________

(C)_________________________________________________

I, the undersigned, certify that I am duly authorized by [insert full name of bidder] to sign this bid and bind [insert full name of bidder] should UNOPS accept this bid:

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form D: Previous Experience Form

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of Bidder]

| Description of services/goods | Country | Total amount of Contract | Contract Identification and Title and Contact details of Client (Name, Address, telephone, email, fax) | Year project was undertaken |
| --- | --- | --- | --- | --- |

Name	: _____________________________________________________________

Title	: _____________________________________________________________

Date	: _____________________________________________________________

Signature	: _____________________________________________________________

# Form E: Self Disclosure Form

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of Bidder]

| Ref. | Critical area | Response | Comments |
| --- | --- | --- | --- |
| 1 | Has the entity or individual declared bankruptcy, or been involved in bankruptcy or receivership proceedings, or is there any judgment or pending legal action against them, which could impair operations in the foreseeable future; | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 2 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) in breach of their obligations relating to the payment of taxes or social security contributions? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 3 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) guilty of misconduct for the violation of applicable laws, regulations or ethical standards of the profession to which they belong? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 4 | Has the entity or individual engaged, or attempted to engage, in any Proscribed Practices in the past? For the purposes of this provision, “Proscribed Practices” are defined in the UNOPS Operational Instruction on Vendor Sanctions and include the following: - A corrupt practice: the offering, giving, receiving, or soliciting, directly or indirectly, anything of value to influence improperly the actions of another party; - A fraudulent practice: any act or omission, including a misrepresentation, that knowingly or recklessly misleads, or attempts to mislead, a party to obtain a financial or other benefit or to avoid an obligation; - A coercive practice: an act or omission that impairs or harms, or threatens to impair or harm, directly or indirectly, any party or the property of the party to improperly influence the actions of a party; - A collusive practice: an arrangement between two or more parties designed to achieve an improper purpose, including influencing improperly the actions of another party; - An unethical practice: Conduct or behaviour that is contrary to the conflict of interest, gifts and hospitality, post-employment provisions or other published requirements of doing business with UNOPS; and - Obstruction: Acts or omissions by a Vendor that prevent or hinder UNOPS from investigating instances of possible Proscribed Practices. | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 5 | Has the entity or individual unduly obtained, or attempted to unduly obtain, any confidential information in connection with this procurement process and any agreement that may be awarded as a result of this process? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 6 | Does the entity or individual have a conflict of interest, as provided in the Instructions to bidders, Article 3 “Bidder eligibility”, that may prevent them from entering into an agreement with UNOPS, or that may in any way jeopardize their performance in carrying out their obligations under the agreement? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 7 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) to be involved in any of the following: - Fraudulent practice; - Corrupt practice; - Affiliation with a criminal organization; - Money laundering; - Terrorist financing; - Child labour; or - Human trafficking? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 8 | Has the entity or individual had significant performance issues in the past that led to the early termination of a legal commitment or the application of damages or other contractual penalties, or that were discovered following inspections, audits or investigations? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 9 | Has the entity or individual committed any financial irregularity, resulting from an act or omission or the inclusion of an unjustified item of expenditure outside a contractual engagement that had the effect of prejudicing their use of public funds? | Select | [If the response is ‘Yes’, provide an explanation here.] |
| 10 | Has the entity or individual been found (or is awaiting a judgment or administrative decision) to have created an entity in a different jurisdiction with the intent of circumventing fiscal, social or any other legal obligations in the jurisdiction of their registered office, central administration or principal place of business? | Select | [If the response is ‘Yes’, provide an explanation here.] |

I, the undersigned, hereby declare that the information provided is true and correct. I also understand that any willful dishonesty may result in the refusal of this submission. I understand that engagement in any of the above critical areas may, at the discretion of UNOPS, automatically result in the exclusion from this procurement process.

| Name: |  |
| --- | --- |
| Title |  |
| Date: | Sep 10, 2024 |
| Signature |  |

[Stamp this form with the official stamp of the bidder]

Form F: Joint Venture Partner Information Form

[The Bidder shall fill in this Form in accordance with the instructions indicated below].

RFQ reference no: [insert RFQ reference No.]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To be completed and returned with your Bid if the Bid is submitted as a Joint Venture/Consortium/Association.

| JV / Consortium/ Association Information |  |
| --- | --- |
| Name | [complete] |
| Names of each partner and contact information (address, telephone numbers, fax numbers, e-mail address) | [complete] |
| Name of leading partner (with authority to bind the JV, Consortium, Association during the Bidding process and, in the event a Contract is awarded, during contract execution) | [complete] |
| Proposed proportion of responsibilities between partners (in %) with indication of the type of the goods/services to be delivered by each | [complete] |

Signatures of all partners of the JV:

We hereby confirm that if the contract is awarded, all parties of the Joint Venture/Consortium/Association shall be jointly and severally liable to UNOPS for the fulfillment of the provisions of the Contract.

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Name of partner: ________________________		Name of partner: _________________________

Signature: ______________________________		Signature: _______________________________

Date: _______________________				Date: ________________________

Form G: Manufacturer’s Authorization Form

A letter issued by the manufacturer authorizing the applicant to participate in this particular RFQ must be submitted with the bid in the format provided in this Form.

To be eligible for delivery of goods, the bidder must be either the manufacturer of the offered goods or a sole representative of the manufacturer to the United Nations. Should offers for a particular make and model be received from more than one appointed representative, UNOPS reserves the right to select only one.

RFQ reference no: [Insert UNOPS tender reference number]

Name of Bidder: [insert name of bidder]

Date: [insert submission date]

To: [bidder to insert]

WHEREAS

We [insert complete name of manufacturer], who are official manufacturers of [insert type of goods manufactured], having factories at [insert full address of manufacturer’s factories], do hereby authorize [insert complete name of bidder] to submit a bid the purpose of which is to provide the following goods, manufactured by us [insert name and or brief description of the goods], and to subsequently negotiate and sign the contract.

We hereby extend our full guarantee and warranty in accordance with Clause 13 of the General Conditions for Goods, with respect to the goods offered by the above firm.

Signed: [insert signature(s) of authorized representative(s) of the manufacturer]

Name: [insert complete name(s) of authorized representative(s) of the manufacturer]

Title: [insert title]

Dated on ____________ day of __________________, _______ [insert date of signing]